## BE 14-12-30 19h32 Blisniuk_SCEC
| Standard used for normalization: |  |  | 07KNSTD3110
| 10/9 ratio for standard = |  | 2.85e-12
Carrier background for stds=
| Boron correction factor = |  | (1.7±0.5)x10^-4
[9 empty] | 10Be/9Be RATIO |  | 10Be/9Be RATIO |  | 10Be/9Be RATIO
[9 empty] | ( CORRECTED FOR BORON) |  | (SAMPLE BKGD) |  | (CORR. FOR BKGDS)
| DATE | SAMPLE NAME | CAMS # | runs | r_to_rstd | interror | exterror | Truefrac | BE_ratio1 | ratio_err1 | bkgd_ratio | bkgd_error | RATIO | ERROR
STANDARD | 2014-12-30 | KNSTD 3110 | BE37889 | 11 | 0.9922 | 0.0051474 | 0.0066353 | 0.99979 | 2.8278e-12 | 1.8911e-14 |  |  | 2.8278e-12 | 1.8911e-14 | 0.9922 | 0.6687% | 07KNSTD3110 | -1.1666
STANDARD | 2014-12-30 | KNSTD 3110 | BE37888 | 12 | 1.0126 | 0.0049143 | 0.0078679 | 0.99978 | 2.8859e-12 | 2.2424e-14 |  |  | 2.8859e-12 | 2.2424e-14 | 1.0126 | 0.777% | 07KNSTD3110 | 1.6219
STANDARD | 2014-12-30 | KNSTD 3110 | BE38288 | 13 | 0.99716 | 0.0045697 | 0.0036113 | 0.99979 | 2.8419e-12 | 1.3024e-14 |  |  | 2.8419e-12 | 1.3024e-14 | 0.99716 | 0.4583% | 07KNSTD3110 | -0.61992
STANDARD | 2014-12-30 | KNSTD 3110 | BE38289 | 11 | 0.9949 | 0.0046469 | 0.0078512 | 0.99981 | 2.8355e-12 | 2.2376e-14 |  |  | 2.8355e-12 | 2.2376e-14 | 0.9949 | 0.7891% | 07KNSTD3110 | -0.64575
STANDARD | 2014-12-30 | KNSTD 3110 | BE38290 | 9 | 0.99205 | 0.0051402 | 0.0059263 | 0.99981 | 2.8274e-12 | 1.689e-14 |  |  | 2.8274e-12 | 1.689e-14 | 0.99205 | 0.5974% | 07KNSTD3110 | -1.3303
STANDARD | 2014-12-30 | KNSTD 3110 | BE38291 | 8 | 1.0033 | 0.0056423 | 0.0076865 | 0.99981 | 2.8595e-12 | 2.1907e-14 |  |  | 2.8595e-12 | 2.1907e-14 | 1.0033 | 0.7661% | 07KNSTD3110 | 0.4365
STANDARD | 2014-12-30 | KNSTD 549 | BE37840 | 8 | 0.19114 | 0.0022027 | 0.0026153 | 0.99956 | 5.4476e-13 | 7.4536e-15 |  |  | 5.4476e-13 | 7.4536e-15 | 1.0182 | 1.368% | 07KNSTD3110 | 1.3333
STANDARD | 2014-12-30 | KNSTD 549 | BE37542 | 5 | 0.18058 | 0.0025977 | 0.0024894 | 0.99944 | 5.1465e-13 | 7.4034e-15 |  |  | 5.1465e-13 | 7.4034e-15 | 0.96195 | 1.439% | 07KNSTD3110 | -2.6447
STANDARD | 2014-12-30 | KNSTD 1032 | BE38267 | 6 | 0.35685 | 0.0029144 | 0.0034365 | 0.9997 | 1.017e-12 | 9.794e-15 |  |  | 1.017e-12 | 9.794e-15 | 1.0463 | 0.963% | 07KNSTD3110 | 4.8106
STANDARD | 2014-12-30 | KNSTD 1032 | BE38268 | 5 | 0.37023 | 0.0032212 | 0.0032431 | 0.99975 | 1.0552e-12 | 9.2428e-15 |  |  | 1.0552e-12 | 9.2428e-15 | 1.0856 | 0.876% | 07KNSTD3110 | 9.7675
STANDARD | 2014-12-30 | KNSTD 9422 | BE38309 | 8 | 2.9566 | 0.012419 | 0.042659 | 0.99982 | 8.4263e-12 | 1.2158e-13 |  |  | 8.4263e-12 | 1.2158e-13 | 0.98438 | 1.443% | 07KNSTD3110 | -1.0823
STANDARD | 2014-12-30 | KNSTD 9422 | BE38306 | 4 | 2.999 | 0.017872 | 0.034983 | 0.99981 | 8.5471e-12 | 9.9702e-14 |  |  | 8.5471e-12 | 9.9702e-14 | 0.9985 | 1.166% | 07KNSTD3110 | -0.12872
Blisniuk/Oskin | 2014-12-30 | LC-1 | BE38166 | 4 | 0.0067229 | 0.0003721 | 0.0006467 | 0.88453 | 1.916e-14 | 1.8431e-15 | 3.8216e-15 | 4.1553e-16 | 1.5339e-14 | 1.8894e-15 |  | 12.32% | 07KNSTD3110
Blisniuk/Oskin | 2014-12-30 | BB-MC | BE38167 | 2 | 0.0012487 | 0.0001413 | 0.0001234 | 0.77027 | 3.5588e-15 | 4.0271e-16 |  |  | 3.5588e-15 | 4.0271e-16 |  | 11.32% | 07KNSTD3110
Blisniuk/Oskin | 2014-12-30 | MC-P6-1 | BE38168 | 4 | 0.0078413 | 0.0003557 | 0.0002237 | 0.92682 | 2.2348e-14 | 1.0137e-15 | 3.2963e-15 | 3.5625e-16 | 1.9051e-14 | 1.0745e-15 |  | 5.64% | 07KNSTD3110
Blisniuk/Oskin | 2014-12-30 | MC-P6-2 | BE38169 | 3 | 0.010731 | 0.0007656 | 0.0003944 | 0.96231 | 3.0582e-14 | 2.182e-15 | 3.2963e-15 | 3.5625e-16 | 2.7286e-14 | 2.2109e-15 |  | 8.102% | 07KNSTD3110
Blisniuk/Oskin | 2014-12-30 | MC-P7-1 | BE38170 | 3 | 0.0092883 | 0.0006633 | 0.0006425 | 0.88817 | 2.6472e-14 | 1.8904e-15 | 3.2963e-15 | 3.5625e-16 | 2.3175e-14 | 1.9237e-15 |  | 8.301% | 07KNSTD3110
Blisniuk/Oskin | 2014-12-30 | MC-P7-2 | BE38171 | 3 | 0.010576 | 0.000836 | 0.0007366 | 0.86704 | 3.0143e-14 | 2.3826e-15 | 3.2963e-15 | 3.5625e-16 | 2.6846e-14 | 2.4091e-15 |  | 8.974% | 07KNSTD3110
Blisniuk/Oskin | 2014-12-30 | MC-P7B-1 | BE38172 | 3 | 0.16768 | 0.0031828 | 0.0043915 | 0.99148 | 4.7788e-13 | 1.2516e-14 | 3.2963e-15 | 3.5625e-16 | 4.7458e-13 | 1.2521e-14 |  | 2.638% | 07KNSTD3110
Blisniuk/Oskin | 2014-12-30 | MC-P8-1 | BE38173 | 3 | 0.0086372 | 0.0007076 | 0.0005585 | 0.87131 | 2.4616e-14 | 2.0167e-15 | 3.2963e-15 | 3.5625e-16 | 2.132e-14 | 2.0479e-15 |  | 9.606% | 07KNSTD3110
Blisniuk/Oskin | 2014-12-30 | MCP-11 | BE38174 | 3 | 0.008778 | 0.0004478 | 0.0005018 | 0.9565 | 2.5017e-14 | 1.4301e-15 | 3.2963e-15 | 3.5625e-16 | 2.1721e-14 | 1.4738e-15 |  | 6.785% | 07KNSTD3110
Blisniuk/Oskin | 2014-12-30 | MCP-11a | BE38175 | 1 | [8 empty] | low current no data |  |  |  | 07KNSTD3110
Blisniuk/Oskin | 2014-12-30 | MCP-11b | BE38176 | 3 | 0.011536 | 0.0007257 | 0.0002311 | 0.87231 | 3.2877e-14 | 2.0682e-15 | 3.2963e-15 | 3.5625e-16 | 2.958e-14 | 2.0987e-15 |  | 7.095% | 07KNSTD3110
|  | Sample | ID | Current (microA)
|  | BB-MC | BE38167 | 23.9 | 22.9
|  | LC-1 | BE38166 | 7.4 | 8.1 | 7.7 | 7.3
|  | MC-P6-1 | BE38168 | 10.1 | 9.4 | 9.5 | 8.9
|  | MC-P6-2 | BE38169 | 5 | 3.4 | 2.2
|  | MC-P7-1 | BE38170 | 4.9 | 4 | 3.7
|  | MC-P7-2 | BE38171 | 4.6 | 3.4 | 1.3
|  | MC-P7B-1 | BE38172 | 4.1 | 3.5 | 3.6
|  | MC-P8-1 | BE38173 | 3.6 | 3.3 | 3.4
|  | MCE-2 | BE38158 | 12.2 | 5.8 | 6.9
|  | MCE-3 | BE38159 | 14 | 11.8 | 13.2 | 10.3
|  | MCE-4 | BE38160 | 4.2 | 4.4 | 4 | 3.8
|  | MCE-5 | BE38161 | 15.2 | 16 | 14.3 | 10.8
|  | MCE-6 | BE38162 | 11.1 | 8.8 | 8.4
|  | MCP-11 | BE38174 | 12.7 | 9.5 | 4.1
|  | MCP-11a | BE38175 | 1.5
|  | MCP-11b | BE38176 | 4.7 | 4.8 | 4.8
|  | PT-15 | BE38178 | 11.5 | 13.1 | 13.4
|  | PT-16 | BE38179 | 12.8 | 9.1 | 7.8
|  | PT-20 | BE38182 | 17.9 | 18.5 | 18
|  | KNSTD 1032 | BE38267 | 15.8 | 17.4 | 18 | 16.3 | 15.5 | 16.5
|  | KNSTD 1032 | BE38268 | 15.7 | 17.3 | 16.7 | 18.5 | 17.7
|  | KNSTD 3110 | BE37888 | 26.3 | 22.2 | 25.5 | 27.4 | 27.8 | 27.3 | 27.1 | 27.3 | 26.6 | 25.4 | 25.2 | 25.7
|  | KNSTD 3110 | BE37889 | 25 | 24.5 | 22.1 | 25.9 | 26.2 | 26.3 | 27.8 | 27.5 | 26.1 | 25.3 | 25.5 | 27.2
|  | KNSTD 3110 | BE38288 | 24 | 25 | 26.2 | 25.4 | 25.9 | 24.3 | 23.1 | 22.7 | 20.4 | 19.5 | 17 | 12.6 | 11.3
|  | KNSTD 3110 | BE38289 | 21.7 | 24.8 | 25.8 | 23.2 | 23.7 | 23.3 | 22.5 | 21.3 | 19.1 | 19.5 | 19.3
|  | KNSTD 3110 | BE38290 | 23 | 19.7 | 23.1 | 22.6 | 22.4 | 22.5 | 18.6 | 19.4 | 20.5
|  | KNSTD 3110 | BE38291 | 24.1 | 18.9 | 21.4 | 22.9 | 23.6 | 19.7 | 20.6 | 21.3
|  | KNSTD 549 | BE37542 | 25.9 | 27.8 | 28.2 | 26.5 | 26.9
|  | KNSTD 549 | BE37840 | 22.2 | 21 | 17.8 | 25.2 | 25.4 | 24.5 | 22.7 | 17.2
|  | KNSTD 9422 | BE38306 | 21.4 | 16.6 | 15.2 | 16
|  | KNSTD 9422 | BE38309 | 22 | 25.5 | 28 | 27.5 | 29.6 | 25.9 | 21.5 | 22.9

## Be10_datareduction
Be-10 data reduction for 36/10 burial dating, June 2015, chemistry done at Stanford
Questions on this spreadsheet: Greg Balco, balcs@bgc.org
1. Blanks.
|  | Rm | delRm | Mc (g) | N10b (atoms) | uncert
BB-MC | BE38167 | 3.559e-15 | 4.027e-16 | 0.00030585 | 72753.6554 | 8232.0587
2. Samples.
AMS data |  |  |  |  | Chem data from 'labdata' tab
[6 empty] | Sample |  | Carrier wt | Total atoms | Less blank | blank pct | N10 | uncert |  |  | error terms
Sample | BE no. | Rm | delRm |  | Sample | wt (g) | Mc (mg) | Be Mc (g) | Be-10 | (atoms) | total ats | (atoms/g) | (atoms/g) | pct err | pct ams err | dNdR | dNdN10b | dNdMc
LC-1 | BE38166 | 1.916e-14 | 1.8431e-15 | LC-1 | LC-1 | 41.7329 | 0.31219 | 0.00031219 | 399789.3573 | 327035.7019 | 18.198 | 7836.3963 | 947.2392 | 12.0877 | 9.6194 | 4.9998e+17 | 0.023962 | 30685888.225
MC-P6-1 | BE38168 | 2.2348e-14 | 1.0137e-15 | MC-P6-1 | MC-P6-1 | 41.6895 | 0.31156 | 0.00031156 | 465359.792 | 392606.1367 | 15.6339 | 9417.3866 | 554.8422 | 5.8917 | 4.5362 | 4.9949e+17 | 0.023987 | 35827970.1374
MC-P6-2 | BE38169 | 3.0582e-14 | 2.182e-15 | MC-P6-2 | MC-P6-2 | 44.8896 | 0.30095 | 0.00030095 | 615155.886 | 542402.2306 | 11.8269 | 12083.0266 | 1004.1615 | 8.3105 | 7.1347 | 4.4809e+17 | 0.022277 | 45534769.0366
MC-P7-1 | BE38170 | 2.6472e-14 | 1.8904e-15 | MC-P7-1 | MC-P7-1 | 49.2385 | 0.31208 | 0.00031208 | 552155.1708 | 479401.5154 | 13.1763 | 9736.3144 | 825.7271 | 8.4809 | 7.1412 | 4.2362e+17 | 0.020309 | 35932897.6336
MC-P7-2 | BE38171 | 3.0143e-14 | 2.3826e-15 | MC-P7-2 | MC-P7-2 | 40.1762 | 0.31213 | 0.00031213 | 628824.2802 | 556070.6248 | 11.5698 | 13840.7969 | 1263.7511 | 9.1306 | 7.9044 | 5.1925e+17 | 0.02489 | 50145253.4107
MC-P7B-1 | BE38172 | 4.7788e-13 | 1.2516e-14 | MC-P7B-1 | MC-P7B-1 | 47.1277 | 0.31114 | 0.00031114 | 9937752.7383 | 9864999.0829 | 0.73209 | 209324.8574 | 5914.189 | 2.8254 | 2.619 | 4.4126e+17 | 0.021219 | 677728080.3328
MC-P8-1 | BE38173 | 2.4616e-14 | 2.0167e-15 | MC-P8-1 | MC-P8-1 | 40.1684 | 0.31189 | 0.00031189 | 513144.8839 | 440391.2285 | 14.178 | 10963.6348 | 1074.0767 | 9.7967 | 8.1925 | 5.1896e+17 | 0.024895 | 40959033.0746
MCP-11 | BE38174 | 2.5017e-14 | 1.4301e-15 | MCP-11 | MCP-11 | 40.9221 | 0.31254 | 0.00031254 | 522599.1204 | 449845.465 | 13.9215 | 10992.7187 | 767.9397 | 6.9859 | 5.7166 | 5.1047e+17 | 0.024437 | 40859981.5341
MCP-11b | BE38176 | 3.2877e-14 | 2.0682e-15 | MCP-11b | MCP-11B | 40.988 | 0.31278 | 0.00031278 | 687304.3308 | 614550.6754 | 10.5854 | 14993.4292 | 1086.8484 | 7.2488 | 6.2909 | 5.1004e+17 | 0.024397 | 53610276.3382

## KB_labdata
Sample Name | Weight after 3 US (g) | Qtz Mass used for analyses (g) | corrected Qtz Mass used for analyses (g) | Be carrier weight (g) | Be carrier concentration (mg/g) | Be carrier (mg)
MC-P6-1 | 80.04 | 41.6895 | 41.6895 | 1.0427 | 0.2988 | 0.31156
MC-P6-2 | 56.04 | 44.8896 | 44.8896 | 1.0072 | 0.2988 | 0.30095
MC-P7-1 | 49.25 | 49.2385 | 49.2385 | 1.0444 | 0.2988 | 0.31208
MC-P7B-1 | 47.13 | 47.1277 | 47.1277 | 1.0413 | 0.2988 | 0.31114
MC-P7-2 | 65.31 | 40.1762 | 40.1762 | 1.0446 | 0.2988 | 0.31213
MC-P8-1 | 51.43 | 40.1684 | 40.1684 | 1.0438 | 0.2988 | 0.31189
LC-1 | 41.76 | 41.7329 | 42 | 1.0448 | 0.2988 | 0.31219
MCP-11 | 40.92 | 40.9221 | 40.9221 | 1.046 | 0.2988 | 0.31254
MCP-11A | 61.27 | 40.0045 | 40.0045 | 1.0492 | 0.2988 | 0.3135
MCP-11B | 56.85 | 40.988 | 40.988 | 1.0468 | 0.2988 | 0.31278
BB-MC (blank) |  |  | 0 | 1.0236 | 0.2988 | 0.30585