## Spike calib
This overall spreadsheet computes how much Cl-36 is in the samples run in 2014-15.
This worksheet figures out what the ratio and concentration of the Cl-37 spike are.
Questions on this spreadsheet: Greg Balco, balcs@bgc.org
Page 1: spike calibration
Relevant AMS data cut and pasted from AMS results (20150326):
Sample name |  | runs | rtorstd | exteerror | R35/37 | delR35/37
pct AMS err
spike-ck-1-140824 | CL14311 | 2 | 0.48836 | 0.0036789 | 1.5271 | 0.011504 | KNSTD1600 | ID measurement of Cl concentration in spike |  |  |  | 0.75332
spike-ck-2-140824 | CL14312 | 1 | 0.56582 | 0 | 1.7693 | 0 | KNSTD1600 | This one apparently did not run.
spike-IR-140824 | CL14313 | 3 | 0.34453 | 0.0027284 | 1.0774 | 0.0085317 | KNSTD1600 | Direct measurement of 35/37 ratio in spike |  |  |  | 0.79191
LLNL a priori Cl concentration (mg/g) |  | 1.389 | ug/g | 1389 | This value is from previous characterization of the spike and was written on the bottle as well.
Check 1: Direct measurement of 35/37 in standard is: |  |  |  | 1.0774 | +/- | 0.0085317
LLNL a priori 35/37 ratio: |  |  |  | 1.0248 | From Bob's records
|  | ratio measured/expected |  | 1.0513
Conclusion: the actual 35/37 ratio of the spike is 5% higher than nominal.
Henceforth assume spike ratio is as measured -- |  |  |  | 1.0774 | +/- | 0.0085317
Check 2: ID determination of Cl concentration in spike
Calculate amounts of 35,37 added as normal | [6 empty] | Normal Cl fx 35 |  | 0.7577 |  | mol wt Cl-35 | 34.9689
Wt of normal Cl added (ug) |  | 552.1 |  |  |  |  | Normal Cl fx 37 |  | 0.2423 |  | mol wt Cl-37 | 36.9659
Wt of normal Cl added (g) |  | 0.0005521 |  |  |  |  | Normal Cl 35/37 |  | 3.1271 | Rn
Mol normal Cl added (g) |  | 1.5573e-05 | g / g/mol |  |  |  | Normal Cl mol wt |  | 35.4527 | g/mol
Mol Cl-35 added as normal |  | 1.18e-05 | N35n |  |  |  | Spike Cl fx 35 |  | 0.51862
Mol Cl-37 added as normal |  | 3.7733e-06 |  |  |  |  | Spike Cl fx 37 |  | 0.48138
[7 empty] | Spike Cl 35/37 |  | 1.0774 | Rs | From above
Now calculate amount of Cl-35 in spike | [6 empty] | Spike Cl mol wt |  | 35.9302
Mol Cl-35 added as spike |  | 1.4463e-05 | N35s | This is N35n * (Rm/Rn - 1) / (1 - Rm/Rs)
dN35s/dRm |  | 4.1198e-05 |  | Thanks to Wolfram online derivative calculator
dN35s/dRs |  | -4.5583e-05 |  | Thanks to Wolfram online derivative calculator
dN35s |  | 6.1308e-07
pct err |  | 4.239
uncert
Mol Cl added as spike |  | 2.7887e-05 | +/- | 1.1821e-06
g Cl added as spike |  | 0.001002 | +/- | 4.2474e-05
ug Cl added as spike |  | 1001.9935 | +/- | 42.4742
Spike soln wt g |  | 0.6956
spike Cl conc ug/g |  | 1440.4737 | +/- | 61.0612 | ug Cl/g spike
Compare to nominal |  | 1389
Ratio to nominal |  | 1.0371 |  | 0.040875
So the concentration measured by ID is actually not distinguishable from the nominal concentration from Bob's initial dilution spreadsheet.
In addition, the IC concentration measurement was also not distinguishable from the nominal concentration.
Conclusion: we should use the nominal concentration of 1.389 mg/g.

## Blanks
Data reduction for SAF Cl-36 samples
Page 2: Cl and Cl-36 blanks
Relevant AMS data from results spreadsheets (20150326 and 20160811)
36/37 ratios |  | runs | r to rstd | interror | exterror | truefrac | R36/37 | uncert
140813-SAF-BLK | CL14309 | 2 | 0.0016485 | 0.0001411 | 0.000123 | 0.99998 | 1.0885e-14 | 9.3171e-16 | This is the process blank from 2014 batch 1
HF-1408-Blank12 | CL14310 | 2 | 0.0017246 | 0.0001536 | 0.0003949 | 0.99998 | 1.1388e-14 | 2.6076e-15 | This is to determine Cl concentration in HF, also functions as a Cl-36 process blank
Blank_KB_GB_2016 | CL14596 | 3 | 0.0014966 | 0.0001542 | 8.23e-05 | 1 | 9.8823e-15 | 1.0182e-15 | This is the process blank from 2016 batch 2
35/37 ratios |  |  | r to rstd | exterror | R35/37 | uncert
140813-SAF-BLK | CL14309 | 2 | 0.35171 | 0.0036713 | 1.0998 | 0.01148
HF-1408-Blank12 | CL14310 | 2 | 0.35805 | 0.0038417 | 1.1196 | 0.012013
Blank_KB_GB_2016 | CL14596 | 3 | 0.35386 | 0.0040166 | 1.1065 | 0.01256
Relevant sample data
Sample name | Sample wt | Carrier Cl | HF added
| (g) | (mg) | (ml)
140813-SAF-BLK | 0 | 1386.4998 | 45
HF-1408-Cl_BLANK | 0 | 1388.5833 | 99
Blank_KB_GB_2016 | 0 | 1382.7495 | 48
Step 1. Figure out how much Cl is in the HF. You can do this both from the process blank and the "HF blank".
Assume HF contains normal Cl. 35/37 ratio of normal Cl is: |  |  |  | 3.1271
35/37 ratio of spike Cl is: |  |  |  | 1.0774 | 0.0085317 | pct err | 0.79191
Molar wt of spike is: |  |  |  | 35.9302
Molar wt of normal Cl is: |  |  |  | 35.4527
|  | Rm | delRm |  |  | approx
Sample name | Spike Cl | R35/37 | delR35/37 | N35sp(mol) | N35sa(mol) | delN35sa(mol) | Sample Cl | +/- | Cl in sample | +/- | Cl in sample | +/- | HF added | Cl conc in HF | +/- | dN35sa/dRm | dN35sa/dRs
| added (ug) | [5 empty] | (mol) | (mol) | (g) | (g) | (ug) |  | (ml) | (ug/ml) | (ug/ml)
140813-SAF-BLK | 1386.4998 | 1.0998 | 0.01148 | 2.0013e-05 | 6.4277e-07 | 9.8038e-07 | 8.4831e-07 | 1.2939e-06 | 3.0075e-05 | 4.5872e-05 | 30.075 | 45.8717 | 45 | 0.66833 | 1.0194 | -2.897e-05 | 0.0001081
HF-1408-Cl_BLANK | 1388.5833 | 1.1196 | 0.012013 | 2.0043e-05 | 1.2252e-06 | 6.126e-07 | 1.617e-06 | 8.0849e-07 | 5.7328e-05 | 2.8663e-05 | 57.3276 | 28.6633 | 99 | 0.57907 | 0.28953 | -2.959e-05 | 5.8478e-05
Blank_KB_GB_2016 | 1382.7495 | 1.1065 | 0.01256 | 1.9959e-05 | 8.3607e-07 | 8.0012e-07 | 1.1034e-06 | 1.056e-06 | 3.912e-05 | 3.7437e-05 | 39.1196 | 37.4374 | 48 | 0.81499 | 0.77995 | -2.9084e-05 | 8.3437e-05
Conclusion: Cl concentration in HF is |  | 0.61166 | +/- | 0.26229 | ug/ml | Error-weighted mean of three measurments | [7 empty] | Averaging terms |  | Wi | WiXi
[16 empty] | 0.96235 | 0.64317
[16 empty] | 11.9294 | 6.9079
[16 empty] | 1.6439 | 1.3397
Step 2. Compute Cl-36 blanks in atoms.
[11 empty] | Rm |  | Atoms
| Spike Cl | Spike Cl-37 | Uncert | HF | Cl added in | Uncert | Cl-37 added |  | Total Cl-37 (ats) |  | 36/37 |  | Cl-36 | uncert
Sample name | added (ug) | added (ats) | (assume 1%) |  | HF (ug) |  | in HF (ats)
140813-SAF-BLK | 1386.4998 | 1.1186e+19 | 1.1186e+17 | 45 | 27.5246 | 11.8031 | 1.1328e+17 | 48578097253425600 | 1.13e+19 | 1.2196e+17 | 1.0885e-14 | 9.3171e-16 | 123001.1088 | 10611.398
HF-1408-Cl_BLANK | 1388.5833 | 1.1203e+19 | 1.1203e+17 | 99 | 60.5542 | 25.9668 | 2.4922e+17 | 1.0687e+17 | 1.1452e+19 | 1.5483e+17 | 1.1388e-14 | 2.6076e-15 | 130418.7266 | 29915.369
Blank_KB_GB_2016 | 1382.7495 | 1.1156e+19 | 1.1156e+17 | 48 | 29.3596 | 12.59 | 1.2084e+17 | 51816637070320600 | 1.1277e+19 | 1.2301e+17 | 9.8823e-15 | 1.0182e-15 | 111442.8652 | 11546.5202
[7 empty] | pct from HF |  |  |  |  | avg | 121620.9002
[7 empty] | 1.0127 |  |  |  |  | stdev | 9562.9264 | Use this
[7 empty] | 2.2246 |  |  |  |  | mean err | 17357.7624

## samples batch 1
Sheet 3a. Data reduction for batch 1 samples.
1. Accumulate data. From AMS results spreadsheet (20150326).
CAMS 35/37 ratios |  |  |  | CAMS 36/37 ratios |  |  |  | Chem lab data
[10 empty] | Spike Cl |  | HF added
Sample | CL no. | R35/37 | delR | Sample | ID | R36/37 | delR | Sample | Sample wt. | added (ug) |  | (ml)
LC-1 | CL14299 | 1.1814 | 0.0069494 | LC-1 | CL14299 | 6.0911e-14 | 2.0952e-15 | LC-1 | 13.9062 | 1386.222 | LC-1 | 44
MC-P6-1 | CL14300 | 1.1712 | 0.0067965 | MC-P6-1 | CL14300 | 7.5385e-14 | 2.0939e-15 | MC-P6-1 | 14.7487 | 1381.0827 | MC-P6-1 | 50
MC-P6-2 | CL14301 | 1.1706 | 0.0056061 | MC-P6-2 | CL14301 | 7.9966e-14 | 2.3309e-15 | MC-P6-2 | 14.3574 | 1356.0807 | MC-P6-2 | 48
MC-P7-1 | CL14302 | 1.481 | 0.0033797 | MC-P7-1 | CL14302 | 1.0133e-13 | 2.4267e-15 | MC-P7-1 | 16.5891 | 1404.8346 | MC-P7-1 | 49
MC-P7-2 | CL14303 | 1.1965 | 0.006799 | MC-P7-2 | CL14303 | 7.1698e-14 | 2.0212e-15 | MC-P7-2 | 14.7961 | 1386.222 | MC-P7-2 | 49
MC-P7B-1 | CL14304 | 1.2216 | 0.0047574 | MC-P7B-1 | CL14304 | 7.0875e-13 | 9.8718e-15 | MC-P7-B | 14.4665 | 1393.7226 | MC-P7-B | 46
MC-P8-1 | CL14305 | 1.1757 | 0.011196 | MC-P8-1 | CL14305 | 2.6983e-14 | 1.3999e-15 | MC-P8-1 | 10.9724 | 1393.167 | MC-P8-1 | 39
MCP-11 | CL14306 | 1.1911 | 0.0079738 | MCP-11 | CL14306 | 7.5629e-14 | 2.2147e-15 | MC-P11 | 13.1045 | 1391.6391 | MC-P11 | 45
MCP-11a | CL14307 | 1.1924 | 0 | Apparent fizzle. |  |  |  | MC-P11a | 15.8969 | 1391.6391 | MC-P11a | 48
MCP-11b | CL14308 | 1.1712 | 0.011152 | MCP-11b | CL14308 | 1.2186e-13 | 3.0322e-15 | MC-P11b | 14.9929 | 1392.3336 | MC-P11b | 50
2. Calculate total Cl
Molar wt of Cl in spike |  | 35.9302
R35/37 of spike |  | 1.0774
R35/37 of natural Cl |  | 3.1271
| Contribution from spike |  |  |  |  | Cl in sample + HF | [10 empty] | Cl-37 from spike
| Cl spike | Cl spike | Cl-37 added | Cl-35 added | Measured | Implied N35s | Implied N37s | Implied mol | Implied wt | Wt Cl | Cl added as |  | Cl in |  | ppm Cl |  | fxn of total
Sample | added (ug) | added (mol) | (mol) | (mol) | Cl-35/37 | (mol) | (mol) | Cl | Cl (g) | (ug) | HF (ug) | uncert | sample (ug) | Uncert | in sample |  | Cl-37
LC-1 | 1386.222 | 3.8581e-05 | 1.8572e-05 | 2.0009e-05 | 1.1814 | 3.1068e-06 | 9.9351e-07 | 4.1003e-06 | 0.00014733 | 147.3256 | 25.4789 | 12.7393 | 121.8467 | 13.5633 | 8.762 | 0.97534 | 0.94922
MC-P6-1 | 1381.0827 | 3.8438e-05 | 1.8503e-05 | 1.9935e-05 | 1.1712 | 2.776e-06 | 8.8773e-07 | 3.6638e-06 | 0.00013164 | 131.6396 | 28.9533 | 14.4764 | 102.6862 | 15.1363 | 6.9624 | 1.0263 | 0.95422
MC-P6-2 | 1356.0807 | 3.7742e-05 | 1.8168e-05 | 1.9574e-05 | 1.1706 | 2.7082e-06 | 8.6604e-07 | 3.5742e-06 | 0.00012842 | 128.4235 | 27.7952 | 13.8974 | 100.6283 | 14.4227 | 7.0088 | 1.0046 | 0.9545
MC-P7-1 | 1404.8346 | 3.9099e-05 | 1.8822e-05 | 2.0277e-05 | 1.481 | 1.4433e-05 | 4.6154e-06 | 1.9048e-05 | 0.00068441 | 684.411 | 28.3743 | 14.1869 | 656.0367 | 19.7502 | 39.5463 | 1.1906 | 0.80307
MC-P7-2 | 1386.222 | 3.8581e-05 | 1.8572e-05 | 2.0009e-05 | 1.1965 | 3.5843e-06 | 1.1462e-06 | 4.7304e-06 | 0.00016997 | 169.9655 | 28.3743 | 14.1869 | 141.5912 | 14.9952 | 9.5695 | 1.0135 | 0.94187
MC-P7-B | 1393.7226 | 3.879e-05 | 1.8673e-05 | 2.0117e-05 | 1.2216 | 4.4214e-06 | 1.4139e-06 | 5.8353e-06 | 0.00020967 | 209.6652 | 26.6371 | 13.3183 | 183.0282 | 14.163 | 12.6519 | 0.97902 | 0.92961
MC-P8-1 | 1393.167 | 3.8774e-05 | 1.8665e-05 | 2.0109e-05 | 1.1757 | 2.94e-06 | 9.4016e-07 | 3.8801e-06 | 0.00013941 | 139.4138 | 22.5836 | 11.2916 | 116.8301 | 13.0292 | 10.6476 | 1.1875 | 0.95205
MC-P11 | 1391.6391 | 3.8732e-05 | 1.8645e-05 | 2.0087e-05 | 1.1911 | 3.4249e-06 | 1.0952e-06 | 4.5202e-06 | 0.00016241 | 162.4104 | 26.058 | 13.0288 | 136.3524 | 14.042 | 10.405 | 1.0715 | 0.94452
MC-P11a | 1391.6391 | 3.8732e-05 | 1.8645e-05 | 2.0087e-05 | 1.1924 | 3.4661e-06 | 1.1084e-06 | 4.5745e-06 | 0.00016436 | 164.361 | 27.7952 | 13.8974 | 136.5658 | 14.2809 | 8.5907 | 0.89834 | 0.94389
MC-P11b | 1392.3336 | 3.8751e-05 | 1.8654e-05 | 2.0097e-05 | 1.1712 | 2.7997e-06 | 8.9529e-07 | 3.695e-06 | 0.00013276 | 132.7606 | 28.9533 | 14.4764 | 103.8073 | 15.8468 | 6.9238 | 1.057 | 0.9542
Error terms | d/dN35spike | d/dRm | del mol 35 | del mol Cl | del ug Cl
| 0.15527 | 1.0937e-05 | 9.8174e-08 | 1.2957e-07 | 4.6554
| 0.13926 | 1.1018e-05 | 9.3221e-08 | 1.2303e-07 | 4.4206
| 0.13836 | 1.0825e-05 | 8.1343e-08 | 1.0736e-07 | 3.8573
| 0.71177 | 7.478e-06 | 2.8976e-07 | 3.8242e-07 | 13.7406
| 0.17913 | 1.0758e-05 | 1.0242e-07 | 1.3517e-07 | 4.8566
| 0.21979 | 1.0516e-05 | 1.016e-07 | 1.3409e-07 | 4.8179
| 0.1462 | 1.1061e-05 | 1.3709e-07 | 1.8093e-07 | 6.5007
| 0.1705 | 1.0865e-05 | 1.1044e-07 | 1.4576e-07 | 5.2373
| 0.17255 | 1.085e-05 | 6.9321e-08 | 9.1489e-08 | 3.2872
| 0.13931 | 1.1107e-05 | 1.3594e-07 | 1.7941e-07 | 6.4464
3. Calculate total Cl-36
| Total Cl-37 | Measured |  | Total |  | Atoms Cl-36 |  | Atoms Cl-36 |  | [Cl-36] |  | Blank pct
Sample | present (mol) | 36/37 ratio | uncert | atoms Cl-36 | uncert | from blank | uncert | less blank | uncert | (atoms/g) | est uncert | tot atoms | est uncert pct
LC-1 | 1.9566e-05 | 6.0911e-14 | 2.0952e-15 | 717674.5977 | 24686.4999 | 121620.9002 | 9562.9264 | 596053.6974 | 26474.0031 | 42862.4425 | 1903.7554 | 16.9465 | 4.4415
MC-P6-1 | 1.9391e-05 | 7.5385e-14 | 2.0939e-15 | 880288.1865 | 24450.7361 | 121620.9002 | 9562.9264 | 758667.2863 | 26254.296 | 51439.6039 | 1780.1092 | 13.816 | 3.4606
MC-P6-2 | 1.9034e-05 | 7.9966e-14 | 2.3309e-15 | 916610.2494 | 26718.2555 | 121620.9002 | 9562.9264 | 794989.3492 | 28378.0679 | 55371.4008 | 1976.5464 | 13.2686 | 3.5696
MC-P7-1 | 2.3437e-05 | 1.0133e-13 | 2.4267e-15 | 1430143.476 | 34249.4088 | 121620.9002 | 9562.9264 | 1308522.5758 | 35559.4089 | 78878.4549 | 2143.5406 | 8.5041 | 2.7175
MC-P7-2 | 1.9718e-05 | 7.1698e-14 | 2.0212e-15 | 851371.3305 | 24000.9545 | 121620.9002 | 9562.9264 | 729750.4303 | 25835.9319 | 49320.4581 | 1746.1312 | 14.2853 | 3.5404
MC-P7-B | 2.0087e-05 | 7.0875e-13 | 9.8718e-15 | 8573132.7764 | 119410.1943 | 121620.9002 | 9562.9264 | 8451511.8762 | 119792.5042 | 584212.6206 | 8280.6832 | 1.4186 | 1.4174
MC-P8-1 | 1.9605e-05 | 2.6983e-14 | 1.3999e-15 | 318566.3045 | 16527.4347 | 121620.9002 | 9562.9264 | 196945.4043 | 19094.65 | 17949.1637 | 1740.2437 | 38.1776 | 9.6954
MC-P11 | 1.974e-05 | 7.5629e-14 | 2.2147e-15 | 899033.1366 | 26327.1792 | 121620.9002 | 9562.9264 | 777412.2364 | 28010.1754 | 59324.067 | 2137.4471 | 13.528 | 3.603
MC-P11a | 1.9753e-05
MC-P11b | 1.9549e-05 | 1.2186e-13 | 3.0322e-15 | 1434562.5047 | 35696.7342 | 121620.9002 | 9562.9264 | 1312941.6045 | 36955.465 | 87570.8905 | 2464.8644 | 8.4779 | 2.8147
Note (20151130) it may be more sensible to subtract blank as 36/37 ratio rather than number of atoms.
However, for these data that shouldn't really matter.

## samples batch 2
Sheet 3b. Data reduction for batch 2 samples.
1. Accumulate data. From AMS results spreadsheet (20160811).
CAMS 35/37 ratios |  |  |  | CAMS 36/37 ratios |  |  |  | Chem lab data
[10 empty] | Spike Cl |  | HF added
Sample | CL no. | R35/37 | delR | Sample | ID | R36/37 | delR | Sample | Sample wt. | added (ug) |  | (ml)
MCP-6 T2 | CL14587 | 1.2293 | 0.0073116 | MCP-6 T2 | CL14587 | 1.041e-13 | 3.713e-15 | MCP--6-T2 | 17.2893 | 1374.4155 | MCP--6-T2 | 60
MCP-7-B2 | CL14588 | 1.2039 | 0.0079895 | MCP-7-B2 | CL14588 | 4.3229e-14 | 1.8423e-15 | MCP-7-B2 | 16.4596 | 1390.9446 | MCP-7-B2 | 58
MCP-7-B3 | CL14589 | 1.1805 | 0.037166 | MCP-7-B3 | CL14589 | 4.9078e-14 | 3.0764e-15 | MCP-7-B3 | 16.3107 | 1397.334 | MCP-7-B3 | 61
MCP-8U | CL14590 | 1.2437 | 0.007623 | MCP-8U | CL14590 | 4.3753e-14 | 1.8363e-15 | MCP-8U-1 | 16.743 | 1384.5552 | MCP-8U-1 | 60
MCP-8-3 | CL14591 | 1.2927 | 0.0083353 | MCP-8-3 | CL14591 | 5.9434e-14 | 3.7414e-15 | MCP-8-3 | 18.3339 | 1393.4448 | MCP-8-3 | 60
TP-16-2A | CL14592 | 1.1391 | 0 | TP-16-2A | CL14592 | 1.2569e-13 |  | TP-16-2A | 16.499 | 1386.7776 | TP-16-2A | 59
TP-16-2B | CL14593 | 1.3753 | 0.00081927 | TP-16-2B | CL14593 | 1.367e-13 | 3.9078e-15 | TP-16-2B | 16.4088 | 1394.2782 | TP-16-2B | 60
MoCan A | CL14594 | 1.1985 | 0.0075229 | MoCan A | CL14594 | 2.9841e-13 | 5.134e-15 | MoCan-A | 17.8859 | 1408.446 | MoCan-A | 59
MoCan C | CL14595 | 1.2292 | 0.013712 | MoCan C | CL14595 | 4.8218e-13 | 1.7e-14 | MoCan-C | 18.6022 | 1392.8892 | MoCan-C | 61
2. Calculate total Cl
Molar wt of Cl in spike |  | 35.9302
R35/37 of spike |  | 1.0774
R35/37 of natural Cl |  | 3.1271
| Contribution from spike |  |  |  |  | Cl in sample + HF | [10 empty] | Cl-37 from spike
| Cl spike | Cl spike | Cl-37 added | Cl-35 added | Measured | Implied N35s | Implied N37s | Implied mol | Implied wt | Wt Cl | Cl added as |  | Cl in |  | ppm Cl |  | fxn of total
Sample | added (ug) | added (mol) | (mol) | (mol) | Cl-35/37 | (mol) | (mol) | Cl | Cl (g) | (ug) | HF (ug) | uncert | sample (ug) | uncert (ug) | in sample | uncert (ppm) | Cl-37
MCP--6-T2 | 1374.4155 | 3.8252e-05 | 1.8414e-05 | 1.9838e-05 | 1.2293 | 4.6093e-06 | 1.474e-06 | 6.0833e-06 | 0.00021857 | 218.5745 | 34.744 | 17.3717 | 183.8305 | 18.2645 | 10.6326 | 1.0564 | 0.92589
MCP-7-B2 | 1390.9446 | 3.8712e-05 | 1.8635e-05 | 2.0077e-05 | 1.2039 | 3.834e-06 | 1.226e-06 | 5.06e-06 | 0.00018181 | 181.8064 | 33.5859 | 16.7927 | 148.2205 | 17.6542 | 9.0051 | 1.0726 | 0.93827
MCP-7-B3 | 1397.334 | 3.889e-05 | 1.8721e-05 | 2.0169e-05 | 1.1805 | 3.1021e-06 | 9.9199e-07 | 4.094e-06 | 0.0001471 | 147.1 | 35.3231 | 17.6612 | 111.7769 | 26.4364 | 6.853 | 1.6208 | 0.94968
MCP-8U-1 | 1384.5552 | 3.8535e-05 | 1.855e-05 | 1.9985e-05 | 1.2437 | 5.1229e-06 | 1.6382e-06 | 6.7612e-06 | 0.00024293 | 242.9299 | 34.744 | 17.3717 | 208.1859 | 18.4103 | 12.4342 | 1.0996 | 0.91885
MCP-8-3 | 1393.4448 | 3.8782e-05 | 1.8669e-05 | 2.0113e-05 | 1.2927 | 6.8547e-06 | 2.192e-06 | 9.0467e-06 | 0.00032505 | 325.0494 | 34.744 | 17.3717 | 290.3054 | 18.9376 | 15.8344 | 1.0329 | 0.89492
TP-16-2A | 1386.7776 | 3.8596e-05 | 1.858e-05 | 2.0017e-05 | 1.1391 | 1.8051e-06 | 5.7724e-07 | 2.3823e-06 | 8.5597e-05 | 85.5972 | 34.1649 | 17.0822 | 51.4322 | 17.1678 | 3.1173 | 1.0405 | 0.96987
TP-16-2B | 1394.2782 | 3.8805e-05 | 1.868e-05 | 2.0125e-05 | 1.3753 | 9.9338e-06 | 3.1767e-06 | 1.311e-05 | 0.00047106 | 471.0598 | 34.744 | 17.3717 | 436.3158 | 19.7648 | 26.5904 | 1.2045 | 0.85466
MoCan-A | 1408.446 | 3.92e-05 | 1.887e-05 | 2.033e-05 | 1.1985 | 3.7071e-06 | 1.1855e-06 | 4.8926e-06 | 0.00017579 | 175.792 | 34.1649 | 17.0822 | 141.6271 | 17.869 | 7.9184 | 0.99905 | 0.94089
MoCan-C | 1392.8892 | 3.8767e-05 | 1.8661e-05 | 2.0105e-05 | 1.2292 | 4.6692e-06 | 1.4931e-06 | 6.1623e-06 | 0.00022141 | 221.412 | 35.3231 | 17.6612 | 186.0889 | 19.4276 | 10.0036 | 1.0444 | 0.92592
Error terms | d/dN35spike | d/dRm | del mol 35 | del mol Cl | del ug Cl
| 0.23234 | 1.0281e-05 | 1.1895e-07 | 1.5699e-07 | 5.6405
| 0.19096 | 1.0707e-05 | 1.1488e-07 | 1.5162e-07 | 5.4476
| 0.1538 | 1.1036e-05 | 4.1483e-07 | 5.4749e-07 | 19.6714
| 0.25634 | 1.0186e-05 | 1.2856e-07 | 1.6967e-07 | 6.0961
| 0.34081 | 9.6654e-06 | 1.5901e-07 | 2.0986e-07 | 7.5404
| 0.090178 | 1.1445e-05 | 3.6102e-08 | 4.7646e-08 | 1.7119
| 0.4936 | 8.6852e-06 | 1.988e-07 | 2.6238e-07 | 9.4272
| 0.18235 | 1.0907e-05 | 1.1059e-07 | 1.4595e-07 | 5.244
| 0.23224 | 1.042e-05 | 1.7069e-07 | 2.2527e-07 | 8.0939
3. Calculate total Cl-36
| Total Cl-37 | Measured |  | Total | uncert | Atoms Cl-36 |  | Atoms Cl-36 |  | [Cl-36] |  | Blank pct
Sample | present (mol) | 36/37 ratio | uncert | atoms Cl-36 | est. uncert | from blank | uncert | less blank | est uncert | (atoms/g) | est uncert | tot atoms | est uncert pct
MCP--6-T2 | 1.9888e-05 | 1.041e-13 | 3.713e-15 | 1246788.7294 | 44468.5739 | 121620.9002 | 9562.9264 | 1125167.8292 | 45485.2023 | 65078.8539 | 2630.8296 | 9.7547 | 4.0425
MCP-7-B2 | 1.9861e-05 | 4.3229e-14 | 1.8423e-15 | 517045.1861 | 22034.8583 | 121620.9002 | 9562.9264 | 395424.2859 | 24020.5025 | 24023.9305 | 1459.3613 | 23.5223 | 6.0746
MCP-7-B3 | 1.9713e-05 | 4.9078e-14 | 3.0764e-15 | 582608.7957 | 36520.8328 | 121620.9002 | 9562.9264 | 460987.8955 | 37752.0965 | 28262.913 | 2314.5602 | 20.8752 | 8.1894
MCP-8U-1 | 2.0188e-05 | 4.3753e-14 | 1.8363e-15 | 531921.1819 | 22324.9394 | 121620.9002 | 9562.9264 | 410300.2817 | 24286.8787 | 24505.7804 | 1450.5691 | 22.8645 | 5.9193
MCP-8-3 | 2.0861e-05 | 5.9434e-14 | 3.7414e-15 | 746637.4798 | 47000.7995 | 121620.9002 | 9562.9264 | 625016.5796 | 47963.7854 | 34090.7597 | 2616.1256 | 16.2892 | 7.674
TP-16-2A | 1.9157e-05 | 1.2569e-13 | 0 | 1449981.0783 | 115998.4863 | 121620.9002 | 9562.9264 | 1328360.1781 | 116392.0031 | 80511.5569 | 7054.4883 | 8.3878 | 8.7621
TP-16-2B | 2.1857e-05 | 1.367e-13 | 3.9078e-15 | 1799237.2611 | 51434.5908 | 121620.9002 | 9562.9264 | 1677616.3609 | 52316.0271 | 102238.8207 | 3188.2909 | 6.7596 | 3.1185
MoCan-A | 2.0055e-05 | 2.9841e-13 | 5.134e-15 | 3604013.1799 | 62004.9223 | 121620.9002 | 9562.9264 | 3482392.2797 | 62738.0263 | 194700.4221 | 3507.6807 | 3.3746 | 1.8016
MoCan-C | 2.0155e-05 | 4.8218e-13 | 1.7e-14 | 5852320.803 | 206329.7939 | 121620.9002 | 9562.9264 | 5730699.9027 | 206551.2852 | 308065.7074 | 11103.5945 | 2.0782 | 3.6043
Note: no reported uncertainty from CAMS on TP-16-2A -- only ran one block. Assuming 8%.

## uncert test
This spreadsheet shows a test to determine whether error correlation between 35/37 and 36/37 is important.
Uses a Monte Carlo simulation in separate MATLAB code.
This can be ignored for any subsequent calculations.
1. Extract synthetic uncertainties on 35,36,37 separately to achieve proper error correlation in MC simulation
Stable | R35/37 | del | pct err | del35,37 | Rare | R36/37 | delR | del36
LC-1 | 1.1814 | 0.0069494 | 0.58822 | 0.0044898 | LC-1 | 6.0911e-14 | 2.0952e-15 | 2.0773e-15
MC-P6-1 | 1.1712 | 0.0067965 | 0.58031 | 0.0044132 | MC-P6-1 | 7.5385e-14 | 2.0939e-15 | 2.0673e-15
MC-P6-2 | 1.1706 | 0.0056061 | 0.4789 | 0.0036413 | MC-P6-2 | 7.9966e-14 | 2.3309e-15 | 2.3127e-15
MC-P7-1 | 1.481 | 0.0033797 | 0.2282 | 0.0018912 | MC-P7-1 | 1.0133e-13 | 2.4267e-15 | 2.4191e-15
MC-P7-2 | 1.1965 | 0.006799 | 0.56824 | 0.0043601 | MC-P7-2 | 7.1698e-14 | 2.0212e-15 | 1.9969e-15
MC-P7B-1 | 1.2216 | 0.0047574 | 0.38943 | 0.0030134 | MC-P7B-1 | 7.0875e-13 | 9.8718e-15 | 9.638e-15
MC-P8-1 | 1.1757 | 0.011196 | 0.95229 | 0.0072537 | MC-P8-1 | 2.6983e-14 | 1.3999e-15 | 1.3861e-15
MCP-11 | 1.1911 | 0.0079738 | 0.66946 | 0.0051272 | MCP-11 | 7.5629e-14 | 2.2147e-15 | 2.1805e-15
MCP-11b | 1.1712 | 0.011152 | 0.9522 | 0.0072416 | MCP-11b | 1.2186e-13 | 3.0322e-15 | 3.0322e-15
2. Summarize to send to MATLAB
| N35 | delN35 | N37 | delN37 | N36 | delN36
LC-1 | 1.1814 | 0.0044898 | 1 | 0.0044898 | 6.0911e-14 | 2.0773e-15
MC-P6-1 | 1.1712 | 0.0044132 | 1 | 0.0044132 | 7.5385e-14 | 2.0673e-15
MC-P6-2 | 1.1706 | 0.0036413 | 1 | 0.0036413 | 7.9966e-14 | 2.3127e-15
MC-P7-1 | 1.481 | 0.0018912 | 1 | 0.0018912 | 1.0133e-13 | 2.4191e-15
MC-P7-2 | 1.1965 | 0.0043601 | 1 | 0.0043601 | 7.1698e-14 | 1.9969e-15
MC-P7B-1 | 1.2216 | 0.0030134 | 1 | 0.0030134 | 7.0875e-13 | 9.638e-15
MC-P8-1 | 1.1757 | 0.0072537 | 1 | 0.0072537 | 2.6983e-14 | 1.3861e-15
MCP-11 | 1.1911 | 0.0051272 | 1 | 0.0051272 | 7.5629e-14 | 2.1805e-15
MCP-11b | 1.1712 | 0.0072416 | 1 | 0.0072416 | 1.2186e-13 | 3.0322e-15
Use these to generate correlated ratios in MC simulation.
Results
From MATLAB MCS code
ppm Cl | uncert | N36(at/g) | uncert
8.7271 | 1.1825 | 42485 | 2316
6.9443 | 1.189 | 51113 | 2161
6.9761 | 1.1051 | 55020 | 2324
39.5151 | 0.9569 | 78575 | 2415
9.5435 | 1.1799 | 49010 | 2130
12.6157 | 1.0535 | 583906 | 8436
10.6175 | 1.8663 | 17486 | 2372
10.3724 | 1.3534 | 58957 | 2531
6.8797 | 1.4537 | 87267 | 2884
These are exactly the same as the simple uncertainties for Cl-36, and within 10% of the simple uncertainties for total Cl. Ignore this issue. .

## summary
Summary data
Sample | [Cl] (ppm) | uncert | N36 (at/g) | uncert
Batch 1
LC-1 | 8.762 | 0.97534 | 42862.4425 | 2316
MC-P6-1 | 6.9624 | 1.0263 | 51439.6039 | 2161
MC-P6-2 | 7.0088 | 1.0046 | 55371.4008 | 2324
MC-P7-1 | 39.5463 | 1.1906 | 78878.4549 | 2415
MC-P7-2 | 9.5695 | 1.0135 | 49320.4581 | 2130
MC-P7-B | 12.6519 | 0.97902 | 584212.6206 | 8436
MC-P8-1 | 10.6476 | 1.1875 | 17949.1637 | 2372
MC-P11 | 10.405 | 1.0715 | 59324.067 | 2531
MC-P11a | 8.5907 | 0.89834
MC-P11b | 6.9238 | 1.057 | 87570.8905 | 2884
Batch 2
MCP--6-T2 | 10.6326 | 1.0564 | 65078.8539 | 2630.8296
MCP-7-B2 | 9.0051 | 1.0726 | 24023.9305 | 1459.3613
MCP-7-B3 | 6.853 | 1.6208 | 28262.913 | 2314.5602
MCP-8U-1 | 12.4342 | 1.0996 | 24505.7804 | 1450.5691
MCP-8-3 | 15.8344 | 1.0329 | 34090.7597 | 2616.1256
TP-16-2A | 3.1173 | 1.0405 | 80511.5569 | 7054.4883
TP-16-2B | 26.5904 | 1.2045 | 102238.8207 | 3188.2909
MoCan-A | 7.9184 | 0.99905 | 194700.4221 | 3507.6807
MoCan-C | 10.0036 | 1.0444 | 308065.7074 | 11103.5945