## Worksheet 1
Instrument | Thermo Scientific™ iCAP™ Qc
ICP-MS operating conditions
Forward power | 1450 W
Carrier gas flow rate | ∼ 1 L min−1 (Ar) and ∼ 0.35 L min−1 (He)
Auxiliary gas flow rate | ∼ 1 L min−1
Plasma gas flow rate | ∼ 14 L min−1
Nitrogen | ∼ 3.5 mL min−1
Data acquisition parameters
Mode of operating | STD (standard mode)
Sampling scheme | –2NIST-612–2MAD–1DUR–10apt–
Background scanning | 15 s
Data acquisition time | 35 s
Wash-out time | 15 s
Measured isotopes | 26Mg 31P 35Cl 43Ca 44Ca 55Mn 88Sr 89Y 139La 140Ce 141Pr 146Nd 147Sm 153Eu 157Gd 159Tb 163Dy 165Ho 166Er 169Tm 172Yb 175Lu 202Hg 204Pb 206Pb 207Pb 208Pb 232Th 238U [total = 29]
Laser ablation system
Ablation cell | RESOlution™ Laurin Technic S-155
Model of laser | Resonetics RESOlution™ LPX Pro
Wavelength | 193 nm (Excimer ArF)
Repetition rate | 4 Hz
Energy density | 4 J cm−2 *
Mode of sampling | spot diameter of 60 µm