## Worksheet 1
| Bayreuth Luminescence Laboratory | Cologne Luminescence Laboratory | Heidelberg Luminescence Laboratory | Gliwice Institute of Physics
Method(s) | TSAC/ICP-OES | Low-level HRGS | Low-level HRGS | Low-level HRGS
Device(s) | Littlemore Low Level Alpha Counter 7286; Varian Vista-Pro™ | Ortec Coaxial Profile M7080-S GEM HPGe Detector; Canberra Coaxial Profile GC4040 Ge Detector | Broad Energy Ge Detector Canberra BE 2020 | Extended Range Coaxial Ge Detector Canberra GX 4518
Drying procedure | Several days at 105 ∘C | ≥2 d at 50 ∘C | Several days at 50 ∘C | Several days depending on water content
Amount of sample | ∼ 5 g | 200 g / 590 g | 30 g | 100 g
Storage time | ≥4 weeks | ≥4 weeks | ≥4 weeks | ≥3 weeks
Measurement duration | ≥3000 α counts | ≥42 h | – | ≥24 h
Calibration and quality control | Tony loess standard | Nussy loess standard and artificially irradiated samples | Nussy loess standard | RGU-1, RGTh-1, RGK-1, IAEA-385