## Worksheet 1
Laboratory Laser ablation system ICP-MS instrument Analytical method – materials Sample preparation | Adelaide Microscopy – the University of Adelaide RESOlution-LR ArF excimer laser Agilent 8900x ICP-MS/MS In situ Rb–Sr – biotite, K-feldspar, plagioclase (anchor), apatite (anchor) Mineral separates in 1 in. (2.54 cm) resin mounts and thin sections
Plasma settings
RF power | 1350 W
Sample depth | 5.0 mm
Ar carrier gas | 0.89 L min−1
He carrier gas | 0.38 L min−1
N2 addition | 4 mL min−1
Lens parameters
Extract 1 | 1.5 V
Extract 2 | −80 V
Omega bias | −85 V
Omega lens | 5.0 V
Q1 entrance | −10 V
Q1 exit | −2.0 V
Cell focus | −2.0 V
Cell entrance | −90 V
Cell exit | −120 V
Deflect | 10 V
Plate bias | −80 V
Q1 bias | −2.0 V
Q1 pre-filter bias | −10.0 V
Q1 post-filter bias | −10.0 V
N2O gas flow | 0.37 mL min−1
Octopole bias | −6.0 V
Axial acceleration | 2.0 V
Octopole RF | 180 V
Energy discrimination | −7.0 V
Analysis parameters
Laser wavelength | 193 nm
Laser fluence | 3.5 J cm−2
Sample laser diameter | 67 µm
Laser repetition rate | 5 Hz
Background duration | 30 s
Analysis duration | 40 s
Isotopes measured and dwell times (ms) | 23Na (2), 24Mg (2), 27Al (2), 29+16Si (2), 31+16P (2), 39K (2), 43+16Ca (2), 55Mn (2), 56+16Fe (2), 85Rb (10), 86+16Sr (50), 87+16Sr (50), 88+16Sr (50), 89+16Y (5), 90+32Zr (5), 93+32Nb (5), all x+16REE (5), 232+15Th (5), 238+16U (5)