## Worksheet 1
Laboratory and sample preparation
Laboratory name | Institut des sciences analytiques et de physico-chimie pour l'environnement et les matériaux (IPREM), UPPA, Pau (France)
Sample type/mineral | Calcite / dolomite
Sample preparation | In situ in polished blocks or thin sections (30 µm)
Imaging | Yes
Laser ablation system
Make, model, and type | Lambda 3, Nexeya (France)
Ablation cell | Two homemade (home-designed) ablation cell volumes. The large cell has a rectangular shape and a volume of 11.25 cm3 (75mm×25mm×6mm size), while the small one, placed above the sample, is of 10 mm diameter.
Laser wavelength (nm) | 257 nm
Pulse duration (fs) | 360 fs
Fluence (J cm−2) | 5–8 J cm−2
Repetition rate (Hz) | 100 or 500 Hz
Gas blank (s) | 15 s per map (one line)
Ablation duration (s) | 38.3 to 145 s per line
Washout and/or travel time in between analyses (s) | Washout time: ∼1000 ms (Ar, October 2018) or ∼500 ms (He, all other sessions). 15 vs. 25 s of break between lines to allow data processing.
Spot diameter (µm) | 15 µm
Sampling mode / pattern | Ablation lines (25 µm width) made by combining laser beam movement across the surface (5 mm s−1) and stage movement (25 µm s−1). 25 µm between lines.
Cell carrier gas (L min−1) | He=0.600 L min−1
ICP-MS instrument
Make, model, and type | ICP-MS Thermo Fisher Element XR HR Jet Interface
RF power (W) | 1000–1100 W
Cooling gas flow rate | 16 L min−1
Auxiliary gas flow rate | 1 L min−1
Nebulizer gas flow rate | 0.5 L min−1
Masses measured | 206, 207, 208, 232, 238
Samples per peak | 30
Mass window | 10 %
Sample time | 3 ms
Settling time | 1 ms
Mass sweep | 57 ms (all masses, most samples) or 68 ms (all masses) or 134 ms (all masses)
Averaged mass sweep | No except C6-265-D5
Resolution | 300
Sensitivity | Percentage of ions detected with regard to atoms ablated is ∼0.04 % for U, as calculated with NIST SRM 614
Data processing
Calibration strategy | Calibration by standard bracketing; NIST SRM 614 for Pb–Pb and WC-1 calcite for Pb–U
Reference material info | Primary: NIST SRM 612 (before 2020) and NIST SRM 614 – Woodhead and Hergt (2001) WC-1: 254.4 ± 6.4 Ma (2 s) – Roberts et al. (2017) Secondary: Duff Brown 64.04 ± 0.67 Ma (2 s) – Hill et al. (2016) AUG-B6 ∼42.5 Ma – Pagel et al. (2018); Blaise et al. (2023)
Data processing package used / correction for LIEF | Element XR acquisition software, data processing with Iolite 4, and in-house Python/R code. Age determination through virtual-spot discretization.
Common Pb correction, composition, and uncertainty | No common Pb correction. Ages in the figures are quoted at 95 % absolute uncertainties and include systematic uncertainties (WC-1 2.7 %, decay constants 0.1 %, long-term uncertainty 2 %), and propagation is by quadratic addition.
Quality control / validation | 3 analyses of Duff Brown (anchored to common Pb value of 0.74) gave ages of 62.6 ± 1.8 Ma, 60.7 ± 1.7 Ma, and 65.9 ± 1.8 Ma. One analysis of AUG-B6 gave 42.2 ± 2.5 Ma.