## Worksheet
Purpose | Item
Framing | 1.5” Aluminum T-slotted stock from 8020.net® and McMaster-Carr®
Roughing pump | Agilent IDP3 Dry Scroll Pump®
Turbo Pump | Agilent Twistorr 74 FS®
Ion Pump | Agilent VacIon Plus 20®
Line Getters | SAES Capacitorr CF16-MK2®
Tank Getters | SAES ST172®
Hiden QMS Chamber Getter | SAES Sorb-AC®,
Pipettes | Becker Systems® ∼ 0.2 cm3 all metal
Reservoir Tanks | Custom cylindrical 10 L made by NorCal®
Hexagonal manifolds | Custom fabricated by MDC®
Tubing connectors | Custom fabricated by MDC®
Pirani pressure gauge | MKS 925®
Cold cathode pressure gauge | Instrutech WASP WGM701®
Mass Spectrometer 1 | Hiden HAL21 3F®
Mass Spectrometer 2 | SRS RGA100/123®
Valves | Swagelok SS-4BG®
Compressed air manifold | Festo VTUG-10-MSDR-B1T-25V20-Q8-U-QH 6S-10K+M1®
Battery Back-up System | TrippLite SMART1500LCD®
Valve control relay board | Grayhill 70MRCK24-HL® PCB
Excimer Laser control DI/O device | National Instruments USB-6501®
Valve control DI/O device | National Instruments USB-6509® with a R100M-50F-50F Ribbon Cable and a CB-50LPconnector block
Bakeout Controller | Amptek BT-15®