## Table S1. MetaData
LA-ICP-MS U-Th-Pb data report
Laboratory & Sample Preparation
Laboratory name | FIERCE, Frankfurt Isotope & Element Research Center Goethe Univesität, Frankfurt am Main
Sample type/mineral | Garnet
Sample preparation | Polished thin sections, mounts
Imaging | Petrographic microscope & 2400 dpi digital scan
Laser ablation system
Make, Model & type | RESOlution ArF excimer laser (COMpex Pro 102)
Ablation cell | Two-volume ablation cell (Laurin Technic S155)
Laser wavelength | 193 nm
Pulse width | 20 ns
Fluence | ca. 2 J/cm2
Repetition rate | 15 Hz (8 Hz for primary RM)
Pre-ablation | 15 pulses (same parameters as main ablation)
Ablation duration | 18 s
Ablation rate | ~ 0.8 µm/s
Spot shape & size | Round, 193 µm (90 µm for primary RM)
Sampling mode | Static spot ablation
Gasses | Sample cell: He. Funnel: He + Ar. Tubbing: He + Ar + N
Gas flows | He (300 ml/min), Ar (~950-1000 ml/min), N2 (5-10 ml/min). Ar and N2 are tunned each session, so the values can be slightly different
ICP-MS Instrument
Make, Model & type | ThermoScientific Neptune Plus multicollector ICP-MS
Sample introduction | Ablation aerosol
RF power | 1300 W
Detection system | Simultaneous multi-collection. Secondary Electron Multipliers (SEMs) for 206Pb and 207Pb Multiple Ion Counters (MICs) for 202Hg, 204Pb and 238U
Masses measured | 202, 204, 206, 207, 238
Total time per run | 131 ms
Number of runs/total time | 240 / 32 s
Acquisition mode | Trigger from laser (20 s after pre-ablation), background: 16 s, ablation: 18 s
Data Processing
Gas blank | 16 s on-peak zero subtracted.
Calibration strategy | - Primary RM: NIST SRM-614 - Offset RM: Mali grt - Validation RM: Lake Jaco grt and in-house RM
Reference Material (RM) information | Soda-lime glass NIST SRM-614 (Jochum et al., 2011), Mali and Lake Jaco garnet (Seman et al., 2017), in-house RM from Balochistan (ID-TIMS age of ca. 45.5 Ma; M. Stifeeva, unpublished data)
Data processing / LIEF correction | In-house VBA spreadsheet program (Gerdes and Zeh, 2006, 2009). Intercept method for LIEF correction, assumes cPb corrected Mali grt and samples behave identically.
Mass discrimination | 207Pb/206Pb and 206Pb/238U normalised to primary standard (variable in each session)
Common-Pb correction | No common-Pb correction applied to the data.
Uncertainty level & propagation | Uncertainties are quoted at 2σ absolute and are propagated by quadratic addition of the within run precision (SD of the mean of ratios in log-ratio space), counting statistics, background, common Pb correction (if applicable) and the excess of scatter (calculated from the primary RM). In addition, an excess of variance calculated for each session from the offset RM, was added quadratically to the 206Pb/238U ratios. Systematic uncertainties are reported as an expanded uncertainty, considering long term reproducibility (1.5%, 2σ) and decay constant uncertainties.
Quality control / Validation | Session 1: Mali: 201.8 ± 4.3 Ma (2s, MSWD = 0.95, n = 22) Lake Jaco: 35.98 ± 0.23 Ma (2s, MSWD = 1.34, n = 22) In-house RM: 43.71 ± 2.78 Ma (2s, MSWD = 0.40, n = 22) Session 2: Mali: 202.6 ± 5.1 Ma (2s, MSWD = 0.38, n = 10) Lake Jaco: 35.17 ± 0.52 Ma (2s, MSWD = 1.60, n = 9) In-house RM: 43.80 ± 0.84 Ma (2s, MSWD = 0.71, n = 10) Session 3: Mali: 201.9 ± 7.5 Ma (2s, MSWD = 1.00, n = 18) Lake Jaco: 36.01 ± 0.90 Ma (2s, MSWD = 0.68, n = 16) In-house RM: 45.28 ± 1.79 Ma (2s, MSWD = 1.02, n = 17) Session 4: Mali: 201.6 ± 2.7 Ma (2s, MSWD = 0.59, n = 17) Lake Jaco: 33.44 ± 0.39 Ma (2s, MSWD = 1.47, n = 17) In-house RM: 45.10 ± 3.23 Ma (2s, MSWD = 0.63, n = 19) Session 5: Mali: 204.4 ± 3.3 Ma (2s, MSWD = 0.91, n = 20) Lake Jaco: 35.01 ± 0.55 Ma (2s, MSWD = 0.77, n = 22) In-house RM: 44.51 ± 1.32 Ma (2s, MSWD = 0.41, n = 22) (Ages are the 206Pb/238U lower intercept ages of the calculated isochrons with the concordia curve in the Tera-Wasserburg space)
Other information

## Table S2. Session 1
grain | name / sample | 207Pba (cps) | Ub (ppm) | Pbc (ppm) | 238Ud 206Pb | ±2s (%) | 207Pbd 206Pb | ±2s (%)
232_U | Demantoid Ortegal | 1762.526 | 0.0010309 | 0.0021262 | 0.77342 | 15.9914 | 0.85407 | 4.809
233_U |  | 5006.356 | 0.0011157 | 0.0068904 | 0.27214 | 10.822 | 0.88761 | 3.138
234_U |  | 1746.7026 | 0.00082596 | 0.0013664 | 0.89463 | 8.953 | 0.85593 | 4.9935
235_U |  | 1425.4297 | 0.00067226 | 0.00079134 | 1.0848 | 22.1692 | 0.83115 | 5.7273
236_U |  | 844.9826 | 0.0011044 | 0.00033119 | 2.9741 | 16.8579 | 0.72362 | 9.7263
237_U |  | 683.151 | 0.001328 | 0.00044417 | 3.3195 | 13.5053 | 0.81016 | 7.5887
238_U |  | 300.1705 | 0.0010957 | 0.00020679 | 4.9417 | 18.9313 | 0.75875 | 15.2686
239_U |  | 1339.5954 | 0.0021431 | 0.0017485 | 1.767 | 9.1016 | 0.83228 | 5.1192
240_U |  | 699.0643 | 0.0026279 | 0.00022884 | 8.8022 | 11.4614 | 0.60931 | 10.425
241_U |  | 253.5763 | 0.0006186 | 6.6887e-05 | 2.9775 | 16.123 | 0.77748 | 12.2917
242_U |  | 969.1567 | 0.00092317 | 0.00010781 | 3.9135 | 14.3327 | 0.75084 | 9.0615
243_U |  | 19415.7412 | 0.0012278 | 0.037605 | 0.054196 | 6.1408 | 0.87352 | 1.6161
244_U |  | 8851.6141 | 0.00095585 | 0.0051807 | 0.31764 | 21.3315 | 0.86503 | 2.2645
245_U |  | 36506.2116 | 0.00078578 | 0.076035 | 0.017211 | 8.021 | 0.87353 | 1.394
246_U |  | 31047.6363 | 0.0034815 | 0.062173 | 0.093039 | 3.6493 | 0.86589 | 1.4339
247_U |  | 19549.7268 | 0.0017348 | 0.037852 | 0.076337 | 4.9523 | 0.87249 | 1.6167
248_U |  | 15046.9074 | 0.00082806 | 0.02928 | 0.046889 | 7.2601 | 0.8708 | 1.8655
249_U |  | 3909.2389 | 0.0026601 | 0.0033959 | 1.2544 | 11.7071 | 0.84349 | 3.4251
250_U |  | 371.9558 | 0.00085072 | 0.00013184 | 3.2413 | 10.4691 | 0.80611 | 9.8169
263_U |  | 906.8025 | 0.0011645 | 4.0839e-05 | 4.656 | 15.6774 | 0.76908 | 7.5036
264_U |  | 218.9334 | 0.0070892 | 0.00027544 | 17.4657 | 12.5018 | 0.40263 | 18.7793
266_U |  | 7952.8248 | 0.0024649 | 0.010962 | 0.36473 | 10.9254 | 0.84068 | 2.6142
267_U |  | 890.838 | 0.00068085 | 6.123e-05 | 3.3231 | 13.1576 | 0.77582 | 9.9984
268_U |  | 964.853 | 0.00082165 | 0.00043556 | 1.5435 | 14.8013 | 0.80466 | 7.1069
269_U |  | 495.0307 | 0.0017763 | 0 | 6.8616 | 10.6803 | 0.66704 | 11.1504
270_U |  | 197.7205 | 0.0011524 | 0 | 6.8899 | 11.5918 | 0.71298 | 14.6695
271_U |  | 736.8031 | 0.0014115 | 9.7211e-05 | 9.2844 | 9.7987 | 0.61805 | 12.2397
272_U |  | 254.4084 | 0.0024274 | 0 | 11.7235 | 9.0266 | 0.53151 | 13.6001
273_U |  | 202.4655 | 0.0015877 | 0 | 5.7962 | 9.8486 | 0.7063 | 12.9352
274_U |  | 753.0044 | 0.00076988 | 9.949e-05 | 3.4359 | 11.8366 | 0.74811 | 8.6321
275_U |  | 2216.5528 | 0.00090203 | 0.00085897 | 1.8824 | 13.4411 | 0.82911 | 4.9356
276_U |  | 1436.127 | 0.0033913 | 0.00019013 | 8.4738 | 14.8698 | 0.6319 | 10.5109
277_U |  | 987.2947 | 0.0010907 | 0.00037754 | 4.3956 | 15.4607 | 0.77477 | 8.819
278_U |  | 17746.8195 | 0.00077136 | 0.036453 | 0.035054 | 7.9053 | 0.86935 | 1.7655
279_U |  | 867.8047 | 0.00058562 | 0 | 3.4608 | 20.0451 | 0.79375 | 8.6452
280_U |  | 1418.0166 | 0.0013838 | 0.00012487 | 7.1182 | 16.2195 | 0.63175 | 11.2278
281_U |  | 1293.8405 | 0.00067994 | 0.00019076 | 3.4856 | 15.9844 | 0.86018 | 7.8344
282_U |  | 14268.8753 | 0.0012102 | 0.023401 | 0.085969 | 8.9061 | 0.87266 | 1.9383
284_U |  | 483.1017 | 0.0014473 | 0 | 5.403 | 9.4694 | 0.74831 | 10.0091
285_U |  | 1662.2152 | 0.00096463 | 5.8317e-05 | 5.1394 | 16.5787 | 0.69103 | 11.1643
286_U |  | 529.3628 | 0.0045107 | 0.00020781 | 11.1699 | 8.5222 | 0.53542 | 10.314
287_U |  | 260.081 | 0.0023198 | 6.8336e-06 | 9.7345 | 9.8744 | 0.54197 | 14.0443
288_U |  | 25621.5746 | 0.0010385 | 0.044273 | 0.039366 | 7.9711 | 0.87228 | 1.5857
289_U |  | 9589.655 | 0.0013468 | 0.005711 | 0.40094 | 24.0658 | 0.8754 | 2.2182
290_U |  | 252.0649 | 0.0094999 | 0.00052115 | 15.6112 | 6.9909 | 0.3447 | 13.4904
291_U |  | 122.0354 | 0.0058865 | 0.00014854 | 16.2574 | 8.1144 | 0.33561 | 16.0515
292_U |  | 1026.9483 | 0.00066319 | 0.00032043 | 2.9344 | 15.4428 | 0.80304 | 8.065
293_U |  | 314.5849 | 0.0006092 | 3.4594e-05 | 2.6255 | 20.4311 | 0.78709 | 12.3135
294_U |  | 324.925 | 0.00076465 | 0 | 4.0099 | 13.154 | 0.83826 | 12.2178
295_U |  | 339.5859 | 0.00089199 | 0 | 4.4027 | 11.4782 | 0.77527 | 11.3646
296_U |  | 927.2447 | 0.0012442 | 0.00063271 | 1.9383 | 8.9806 | 0.83495 | 6.5016
297_U |  | 894.2955 | 0.0031005 | 1.1011e-05 | 9.6436 | 10.312 | 0.58865 | 9.327
298_U |  | 201.2033 | 0.0060154 | 9.7053e-05 | 14.3471 | 7.832 | 0.42583 | 14.2562
299_U |  | 127.492 | 0.0050584 | 7.6554e-05 | 15.8512 | 9.7117 | 0.33182 | 15.1392
300_U |  | 846.2463 | 0.0011189 | 0.00018279 | 4.2482 | 9.3322 | 0.76648 | 8.6161
313_U |  | 1319.6216 | 0.0010325 | 0.00027417 | 4.1261 | 16.1601 | 0.82799 | 7.2537
314_U |  | 171.0657 | 0.00086949 | 0 | 4.53 | 13.6732 | 0.75499 | 14.695
315_U |  | 177.4785 | 0.0010356 | 0 | 4.9715 | 16.803 | 0.81283 | 20.9262
316_U |  | 188.6224 | 0.001611 | 0 | 6.6426 | 11.1299 | 0.66212 | 13.7944
317_U |  | 607.7955 | 0.00080087 | 0 | 3.5736 | 10.7759 | 0.77189 | 10.3419
318_U |  | 167.6035 | 0.00097481 | 0 | 5.7539 | 13.5693 | 0.70545 | 15.9779
319_U |  | 178.246 | 0.0011661 | 0 | 4.8639 | 14.1834 | 0.69828 | 16.3623
RM0 (n=22) e |  | 189748.3057 | 0.823 | 1.111 | 1.238 | 0.83641 | 0.871 | 0.32202
RM1 (n=22) e |  | 498.2901 | 0.024581 | 0.0020321 | 20.159 | 48.1243 | 0.34688 | 75.7608
RM3 (n=22) e |  | 30698.1799 | 0.10386 | 0.054986 | 13.184 | 194.4626 | 0.75691 | 18.3802
RM4 (n=22) e |  | 2701.9758 | 0.69946 | 0.0090367 | 143.7841 | 66.9074 | 0.20004 | 213.7727
a Within run background-corrected mean 207Pb signal in cps (counts per second).
b U concentration was calculated relative to the primary reference material.
c Pb concentration is the sum of 204Pb (corrected for 202Hg), 206Pb and 207Pb calculated relative to the
primary reference material
d Corrected for background, within-run Pb/U fractionation (in case of 206Pb/238U) and subsequently
normalised to the primary reference material (ID-TIMS value/measured value).
e RM1: Reference material 1.
Accuracy and reproducibilty was checked by repeated analyses of secondary reference materials;
data given as mean with 2 standard deviation uncertainties.
RM0
001_A | NIST | 199390.7 | 0.8243 | 1.1132 | 1.238 | 0.37658 | 0.8707 | 0.1342
002_A | NIST | 198286.8962 | 0.82552 | 1.1109 | 1.241 | 0.41575 | 0.87 | 0.15677
051_A | NIST | 192869.04 | 0.80916 | 1.0952 | 1.235 | 0.35199 | 0.8719 | 0.16182
052_A | NIST | 193808.6206 | 0.83094 | 1.1248 | 1.234 | 0.34365 | 0.8724 | 0.14107
101_A | NIST | 195994.2382 | 0.82169 | 1.1181 | 1.228 | 0.29609 | 0.87 | 0.158
102_A | NIST | 193781.0306 | 0.82013 | 1.1025 | 1.243 | 0.36519 | 0.8713 | 0.17537
151_A | NIST | 193174.6457 | 0.82183 | 1.1047 | 1.242 | 0.3447 | 0.8693 | 0.17391
152_A | NIST | 193812.3169 | 0.82153 | 1.1046 | 1.245 | 0.33073 | 0.8733 | 0.16281
201_A | NIST | 196476.1443 | 0.83163 | 1.1241 | 1.237 | 0.33063 | 0.8707 | 0.14576
202_A | NIST | 197638.3379 | 0.84248 | 1.1324 | 1.244 | 0.36373 | 0.8727 | 0.17508
251_A | NIST | 190699.1094 | 0.8163 | 1.1014 | 1.238 | 0.25685 | 0.8688 | 0.15819
252_A | NIST | 190831.6592 | 0.81489 | 1.1013 | 1.237 | 0.37163 | 0.8703 | 0.19215
301_A | NIST | 189951.8404 | 0.81246 | 1.1053 | 1.229 | 0.37332 | 0.8708 | 0.15885
302_A | NIST | 192379.7372 | 0.82374 | 1.1175 | 1.231 | 0.46812 | 0.8686 | 0.15832
351_A | NIST | 185740.5473 | 0.80914 | 1.0917 | 1.239 | 0.41384 | 0.8719 | 0.15493
352_A | NIST | 190012.6493 | 0.8356 | 1.1263 | 1.241 | 0.32592 | 0.8736 | 0.16003
401_A | NIST | 183193.0593 | 0.82061 | 1.1024 | 1.244 | 0.31346 | 0.8707 | 0.13719
402_A | NIST | 185128.2312 | 0.82967 | 1.1126 | 1.246 | 0.38973 | 0.8705 | 0.17452
451_A | NIST | 180631.314 | 0.82448 | 1.1165 | 1.234 | 0.36876 | 0.8712 | 0.14962
452_A | NIST | 182294.471 | 0.83085 | 1.1275 | 1.233 | 0.37671 | 0.8731 | 0.13625
489_A | NIST | 172376.2487 | 0.81016 | 1.0947 | 1.236 | 0.37846 | 0.8699 | 0.20595
490_A | NIST | 175991.8881 | 0.82888 | 1.1153 | 1.242 | 0.32752 | 0.8703 | 0.17812
|  | 189748.3057 | 0.823 | 1.111 | 1.238 | 0.83641 | 0.871 | 0.32202
RM1
003_B | Mali Yellow | 225.2262 | 0.016812 | 0.00242 | 21.01 | 5.2919 | 0.2772 | 10.5059
004_B | Mali Yellow | 541.9285 | 0.019917 | 0.0025066 | 17.11 | 5.2399 | 0.4324 | 7.752
053_B | Mali Yellow | 1570.5705 | 0.019146 | 0.0041014 | 8.519 | 4.8675 | 0.6527 | 4.6517
054_B | Mali Yellow | 898.8894 | 0.020623 | 0.0029361 | 12.52 | 3.7951 | 0.5307 | 5.7709
103_B | Mali Yellow | 166.772 | 0.020034 | 0.001447 | 25.11 | 5.2186 | 0.2085 | 13.6766
104_B | Mali Yellow | 209.847 | 0.019896 | 0.001486 | 23.43 | 5.2755 | 0.2449 | 11.4196
153_B | Mali Yellow | 488.163 | 0.020706 | 0.0019949 | 17.92 | 4.5199 | 0.4154 | 7.6881
154_B | Mali Yellow | 642.252 | 0.019924 | 0.0022491 | 15.06 | 4.4058 | 0.4843 | 6.7581
203_B | Mali Yellow | 607.858 | 0.032056 | 0.0026394 | 19.59 | 4.1205 | 0.363 | 7.6063
204_B | Mali Yellow | 401.6424 | 0.021873 | 0.0017513 | 19.99 | 4.6789 | 0.3672 | 8.1165
253_B | Mali Yellow | 329.0491 | 0.034803 | 0.0019615 | 24.44 | 3.963 | 0.2296 | 9.1665
254_B | Mali Yellow | 493.7861 | 0.024833 | 0.0017934 | 19.64 | 4.2802 | 0.3867 | 7.5806
303_B | Mali Yellow | 531.9876 | 0.026608 | 0.0022353 | 20.27 | 4.9801 | 0.3767 | 9.0205
304_B | Mali Yellow | 1091.8568 | 0.033635 | 0.0034016 | 14.78 | 4.1601 | 0.4858 | 5.4556
353_B | Mali Yellow | 789.6791 | 0.032487 | 0.0025257 | 18.72 | 4.6051 | 0.4189 | 7.7725
354_B | Mali Yellow | 232.7054 | 0.037375 | 0.0015795 | 26.43 | 4.1168 | 0.1748 | 11.4322
403_B | Mali Yellow | 353.9741 | 0.018048 | 0.0013462 | 21.13 | 7.3522 | 0.3348 | 13.8919
404_B | Mali Yellow | 153.2773 | 0.019359 | 0.00096739 | 24.36 | 5.6462 | 0.2072 | 13.8585
453_B | Mali Yellow | 182.0626 | 0.021039 | 0.0011024 | 24.96 | 5.3368 | 0.2267 | 12.3624
454_B | Mali Yellow | 145.5965 | 0.020247 | 0.00094436 | 24.88 | 5.281 | 0.2006 | 12.8981
491_B | Mali Yellow | 211.3234 | 0.03815 | 0.0015854 | 27.53 | 4.0858 | 0.1691 | 12.4427
492_B | Mali Yellow | 695.5428 | 0.02331 | 0.0018033 | 16.1 | 7.2235 | 0.4511 | 8.7453
|  | 498.3632 | 0.024585 | 0.0020354 | 20.159 | 48.1243 | 0.3472 | 75.5867
RM3
007_D | In-house RM | 1335.7609 | 0.091604 | 0.0038448 | 41.21 | 4.9334 | 0.5914 | 4.5306
008_D | In-house RM | 138181.5228 | 0.016212 | 0.26472 | 0.1001 | 5.4644 | 0.8256 | 1.1505
057_D | In-house RM | 95896.1369 | 0.011149 | 0.16805 | 0.1087 | 4.7609 | 0.8237 | 1.1928
058_D | In-house RM | 1255.1407 | 0.064847 | 0.0031494 | 34.35 | 7.4154 | 0.6395 | 7.1406
107_D | In-house RM | 6858.0053 | 0.10725 | 0.014021 | 12.34 | 4.4775 | 0.7595 | 2.3288
108_D | In-house RM | 33733.8845 | 0.092913 | 0.050661 | 3.019 | 7.7989 | 0.8171 | 1.4544
157_D | In-house RM | 53877.6281 | 0.10742 | 0.096006 | 1.827 | 6.4185 | 0.8165 | 1.2868
158_D | In-house RM | 26098.9339 | 0.097873 | 0.04601 | 3.461 | 8.6118 | 0.8128 | 1.5652
207_D | In-house RM | 181098.7321 | 0.10856 | 0.28144 | 0.6333 | 8.0262 | 0.8201 | 1.111
208_D | In-house RM | 4227.2173 | 0.15168 | 0.0090833 | 26.33 | 4.8371 | 0.6918 | 3.0827
257_D | In-house RM | 5707.2663 | 0.15599 | 0.012222 | 20.38 | 5.2736 | 0.7233 | 2.5709
258_D | In-house RM | 7392.6656 | 0.09178 | 0.013767 | 10.73 | 6.2156 | 0.7756 | 2.3407
307_D | In-house RM | 35574.7733 | 0.18828 | 0.074112 | 4.102 | 4.7868 | 0.8044 | 1.4279
308_D | In-house RM | 16377.9413 | 0.10308 | 0.032051 | 5.212 | 6.0393 | 0.8007 | 1.7352
357_D | In-house RM | 4039.0745 | 0.094822 | 0.0094607 | 15.92 | 8.3773 | 0.7255 | 3.195
358_D | In-house RM | 1134.3738 | 0.075062 | 0.0029443 | 39.63 | 5.1279 | 0.625 | 4.7893
407_D | In-house RM | 3548.1719 | 0.0943 | 0.0068157 | 21.64 | 5.6593 | 0.7168 | 3.4332
408_D | In-house RM | 4981.7639 | 0.079001 | 0.010391 | 11.93 | 4.9804 | 0.7706 | 2.8439
457_D | In-house RM | 22622.5727 | 0.071811 | 0.0406 | 2.882 | 7.0538 | 0.8125 | 1.5337
458_D | In-house RM | 12001.1628 | 0.04578 | 0.026648 | 2.773 | 4.839 | 0.813 | 1.9475
495_D | In-house RM | 10948.0559 | 0.21713 | 0.024458 | 14 | 6.5668 | 0.7552 | 1.951
496_D | In-house RM | 8469.1735 | 0.21836 | 0.019235 | 17.47 | 4.5026 | 0.7315 | 2.2506
|  | 30698.1799 | 0.10386 | 0.054986 | 13.184 | 194.4626 | 0.75691 | 18.3802
RM4
009_E | Jaco Lake pink | 846.3278 | 0.88679 | 0.0069004 | 155.1 | 4.9477 | 0.1428 | 10.0767
010_E | Jaco Lake pink | 278.1772 | 0.33744 | 0.0032938 | 155.1 | 4.9372 | 0.1262 | 10.5066
059_E | Jaco Lake pink | 21541.2516 | 0.65622 | 0.044514 | 23.27 | 5.2748 | 0.739 | 1.6328
060_E | Jaco Lake pink | 450.2646 | 1.0418 | 0.0065272 | 170.5 | 4.328 | 0.0739 | 6.7328
109_E | Jaco Lake pink | 3349.9664 | 0.32376 | 0.0053089 | 89.48 | 13.6311 | 0.4456 | 12.3879
110_E | Jaco Lake pink | 402.6632 | 0.50289 | 0.0038892 | 156.9 | 4.8064 | 0.1294 | 10.6661
159_E | Jaco Lake pink | 373.751 | 0.89484 | 0.0054811 | 173.4 | 4.4356 | 0.07289 | 8.0693
160_E | Jaco Lake pink | 357.9388 | 0.77001 | 0.0048248 | 170.5 | 4.4962 | 0.07985 | 9.8217
209_E | Jaco Lake pink | 601.8469 | 1.6064 | 0.0089424 | 177.2 | 4.324 | 0.06765 | 8.8069
210_E | Jaco Lake pink | 432.7614 | 0.80662 | 0.0050676 | 166.7 | 4.452 | 0.09076 | 8.9935
259_E | Jaco Lake pink | 221.8057 | 0.37295 | 0.0027658 | 161.4 | 5.0878 | 0.09897 | 11.7674
260_E | Jaco Lake pink | 347.0732 | 0.61479 | 0.0040812 | 167.4 | 4.5518 | 0.09523 | 10.071
309_E | Jaco Lake pink | 5626.0253 | 0.87953 | 0.015769 | 76.86 | 4.4782 | 0.4977 | 3.1213
310_E | Jaco Lake pink | 324.714 | 0.36435 | 0.0029328 | 153.4 | 5.3576 | 0.1401 | 13.3792
359_E | Jaco Lake pink | 310.3172 | 0.83857 | 0.0049465 | 174.5 | 4.4663 | 0.06751 | 8.8613
360_E | Jaco Lake pink | 474.658 | 0.31626 | 0.0028805 | 138.6 | 5.1461 | 0.2196 | 8.0128
409_E | Jaco Lake pink | 21318.6688 | 0.36173 | 0.047035 | 12.34 | 4.1562 | 0.7846 | 1.6785
410_E | Jaco Lake pink | 760.4095 | 1.2675 | 0.0076171 | 170 | 4.4199 | 0.107 | 9.6354
459_E | Jaco Lake pink | 367.6016 | 0.74824 | 0.0044855 | 171.9 | 4.5449 | 0.09284 | 8.1969
460_E | Jaco Lake pink | 226.6773 | 0.52355 | 0.003236 | 171.7 | 4.6765 | 0.08105 | 10.2052
497_E | Jaco Lake pink | 494.9871 | 0.85374 | 0.0053088 | 166.6 | 4.5806 | 0.1059 | 11.6851
498_E | Jaco Lake pink | 335.5818 | 0.42023 | 0.0029986 | 160.4 | 5.1458 | 0.1423 | 10.0985
|  | 2701.9758 | 0.69946 | 0.0090367 | 143.7841 | 66.9074 | 0.20004 | 213.7727

## Table S3. Session 2
grain | name / sample | 207Pba (cps) | Ub (ppm) | Pbc (ppm) | 238Ud 206Pb | ±2s (%) | 207Pbd 206Pb | ±2s (%)
061_U | Demantoid | 37192.6766 | 0.00066853 | 0.051268 | 7.9382 | 0.86663 | 1.3894 | 1.3894
062_U |  | 2400.936 | 0.00093433 | 0.003313 | 11.198 | 0.8404 | 4.0989 | 4.0989
063_U |  | 52369.9553 | 0.00057572 | 0.072407 | 9.1874 | 0.86151 | 1.3321 | 1.3321
064_U |  | 156.7206 | 0.0007976 | 0.000387 | 13.018 | 0.59185 | 15.2502 | 15.2502
065_U |  | 185.2061 | 0.0011098 | 0.00038983 | 12.2543 | 0.62738 | 14.8712 | 14.8712
066_U |  | 150.5896 | 0.00055865 | 0.00032473 | 17.8577 | 0.77113 | 18.5898 | 18.5898
067_U |  | 140.4904 | 0.0005372 | 0.00039868 | 18.6835 | 0.75822 | 19.7556 | 19.7556
068_U |  | 371.3151 | 0.00099926 | 0.00060104 | 11.6844 | 0.78628 | 10.235 | 10.235
069_U |  | 780.8518 | 0.0031423 | 0.0012881 | 7.3342 | 0.78765 | 6.7184 | 6.7184
070_U |  | 612.3392 | 0.0038746 | 0.0010624 | 8.9814 | 0.71303 | 7.6154 | 7.6154
071_U |  | 24844.7826 | 0.0006558 | 0.038976 | 8.4996 | 0.88379 | 1.6337 | 1.6337
072_U |  | 1218.9724 | 0.0022351 | 0.0012337 | 13.4894 | 0.82841 | 5.9697 | 5.9697
073_U |  | 937.8749 | 0.0026826 | 0.00059017 | 9.8623 | 0.64845 | 8.946 | 8.946
074_U |  | 162.3571 | 0.0032436 | 0.00049553 | 9.638 | 0.48385 | 13.4199 | 13.4199
075_U |  | 1557.7256 | 0.00037368 | 0.00096183 | 15.4631 | 0.81385 | 5.2045 | 5.2045
076_U |  | 151.8662 | 0.0027128 | 0.0004555 | 9.9205 | 0.48678 | 14.1614 | 14.1614
077_U |  | 15345.8938 | 0.00052674 | 0.021293 | 9.3206 | 0.87749 | 1.7659 | 1.7659
078_U |  | 675.2437 | 0.00040491 | 0.00071069 | 13.0652 | 0.83678 | 7.767 | 7.767
079_U |  | 20210.4269 | 0.00032229 | 0.026456 | 11.978 | 0.87384 | 1.6392 | 1.6392
080_U |  | 153.7576 | 0.00044694 | 0.00036654 | 22.0726 | 0.79609 | 22.9835 | 22.9835
081_U |  | 26389.1485 | 0.00058862 | 0.03786 | 8.475 | 0.86984 | 1.4887 | 1.4887
082_U |  | 173.4533 | 0.00039081 | 0.00046205 | 19.6495 | 0.77557 | 24.9461 | 24.9461
083_U |  | 278.8273 | 0.00050172 | 0.00051624 | 14.1821 | 0.79149 | 11.9829 | 11.9829
084_U |  | 235.8153 | 0.00063207 | 0.00057716 | 12.1852 | 0.78517 | 12.6077 | 12.6077
085_U |  | 679.5957 | 0.00047223 | 0.00064902 | 22.2229 | 0.8323 | 10.3263 | 10.3263
086_U |  | 1817.8023 | 0.00072518 | 0.0025149 | 9.7993 | 0.84022 | 4.4503 | 4.4503
087_U |  | 85.2507 | 0.00072383 | 0.0004096 | 19.2203 | 0.64576 | 22.2174 | 22.2174
088_U |  | 972.471 | 0.00086311 | 0.0005569 | 15.8735 | 0.71626 | 8.6388 | 8.6388
089_U |  | 15164.4196 | 0.0014464 | 0.022645 | 6.439 | 0.87001 | 1.7596 | 1.7596
090_U |  | 489.8506 | 0.00075619 | 0.00047459 | 15.8634 | 0.74791 | 9.5848 | 9.5848
091_U |  | 85.4485 | 0.0040938 | 0.00051009 | 9.5426 | 0.25158 | 19.6969 | 19.6969
092_U |  | 391.1004 | 0.00044905 | 0.00038767 | 14.849 | 0.74708 | 11.4151 | 11.4151
093_U |  | 151.3479 | 0.0022044 | 0.00060109 | 11.2503 | 0.60846 | 15.5995 | 15.5995
094_U |  | 838.3597 | 0.00023339 | 0.0003721 | 19.6173 | 0.79881 | 12.5305 | 12.5305
095_U |  | 7535.3356 | 0.00050453 | 0.011195 | 9.0001 | 0.86991 | 2.3245 | 2.3245
096_U |  | 187.2064 | 0.0004507 | 0.00032654 | 14.7413 | 0.77127 | 14.2116 | 14.2116
097_U |  | 104.2535 | 0.0023724 | 0.00042501 | 11.8919 | 0.41933 | 17.2522 | 17.2522
098_U |  | 1184.452 | 0.0036007 | 0.00065784 | 10.4216 | 0.5431 | 12.5243 | 12.5243
099_U |  | 134.0316 | 0.00063776 | 0.00035841 | 17.7463 | 0.71003 | 18.9569 | 18.9569
100_U |  | 51944.8041 | 0.00095556 | 0.074652 | 8.6395 | 0.87253 | 1.3457 | 1.3457
Anchor |  | 0 | 0 | 0 | 1e-05 | 4 | 0.87 | 2
RM0 (n=10) e |  | 171697.8035 | 0.823 | 1.1114 | 1.238 | 0.91069 | 0.87101 | 0.21796
RM1 (n=10) e |  | 923.6417 | 0.017485 | 0.0024078 | 19.0227 | 99.0315 | 0.37058 | 135.3746
RM3 (n=10) e |  | 21834.1768 | 0.12356 | 0.03325 | 43.9394 | 284.7574 | 0.59538 | 112.6487
RM4 (n=10) e |  | 6356.9882 | 0.52346 | 0.011878 | 111.013 | 108.3413 | 0.35785 | 150.7197
a Within run background-corrected mean 207Pb signal in cps (counts per second).
b U concentration was calculated relative to the primary reference material.
c Pb concentration is the sum of 204Pb (corrected for 202Hg), 206Pb and 207Pb calculated relative to the
primary reference material
d Corrected for background, within-run Pb/U fractionation (in case of 206Pb/238U) and subsequently
normalised to the primary reference material (ID-TIMS value/measured value).
e RM1: Reference material 1.
Accuracy and reproducibilty was checked by repeated analyses of secondary reference materials;
data given as mean with 2 standard deviation uncertainties.
RM0
001_A | NIST614 | 176758.223 | 0.82448 | 1.1148 | 1.237 | 0.4035 | 0.8721 | 0.15162
002_A | NIST614 | 174990.3895 | 0.81967 | 1.1052 | 1.24 | 0.42906 | 0.8702 | 0.19535
051_A | NIST614 | 176509.9286 | 0.8159 | 1.1034 | 1.236 | 0.33252 | 0.8709 | 0.21806
052_A | NIST614 | 180907.4083 | 0.83711 | 1.1327 | 1.234 | 0.32231 | 0.8698 | 0.18344
101_A | NIST614 | 174119.1902 | 0.82323 | 1.1096 | 1.242 | 0.46597 | 0.8724 | 0.20152
102_A | NIST614 | 170723.5042 | 0.81232 | 1.0929 | 1.243 | 0.42309 | 0.8717 | 0.14127
151_A | NIST614 | 168330.86 | 0.82443 | 1.1154 | 1.235 | 0.30716 | 0.8696 | 0.19888
152_A | NIST614 | 168828.6237 | 0.8288 | 1.1218 | 1.235 | 0.36739 | 0.871 | 0.16774
201_A | NIST614 | 160722.7264 | 0.81656 | 1.0932 | 1.249 | 0.38037 | 0.8716 | 0.18992
202_A | NIST614 | 165087.1816 | 0.82749 | 1.1255 | 1.229 | 0.42053 | 0.8708 | 0.16203
|  | 171697.8035 | 0.823 | 1.1114 | 1.238 | 0.91069 | 0.87101 | 0.21796
RM1
003_B | Mali Yellow | 1881.6818 | 0.020717 | 0.0043353 | 9.19 | 4.896 | 0.6188 | 4.2334
004_B | Mali Yellow | 129.6962 | 0.02323 | 0.0017101 | 28.24 | 5.8162 | 0.1158 | 16.6734
053_B | Mali Yellow | 3077.9791 | 0.014714 | 0.0055325 | 4.723 | 5.2878 | 0.7563 | 3.7462
054_B | Mali Yellow | 2352.5812 | 0.021484 | 0.0044763 | 8.094 | 4.8109 | 0.6554 | 3.5699
103_B | Mali Yellow | 82.1011 | 0.019591 | 0.0013192 | 29.68 | 6.1192 | 0.09413 | 17.4365
104_B | Mali Yellow | 204.2947 | 0.018998 | 0.0014129 | 25.22 | 5.9281 | 0.2048 | 10.8568
153_B | Mali Yellow | 653.4248 | 0.010397 | 0.0013886 | 15.78 | 11.7944 | 0.462 | 12.93
154_B | Mali Yellow | 606.5215 | 0.01486 | 0.0017313 | 15.78 | 6.1761 | 0.474 | 7.8069
203_B | Mali Yellow | 76.8864 | 0.010444 | 0.00091875 | 26.45 | 7.8873 | 0.1544 | 22.4382
204_B | Mali Yellow | 171.2502 | 0.020414 | 0.0012533 | 27.07 | 6.3612 | 0.1702 | 15.2885
|  | 923.6417 | 0.017485 | 0.0024078 | 19.0227 | 99.0315 | 0.37058 | 135.3746
RM3
007_D | In-house RM | 68321.7768 | 0.13032 | 0.10184 | 2.087 | 4.3245 | 0.8153 | 1.2674
008_D | In-house RM | 5926.8356 | 0.04335 | 0.0092927 | 8.068 | 4.589 | 0.781 | 2.4834
057_D | In-house RM | 206.2436 | 0.12483 | 0.0013721 | 126.1 | 5.4959 | 0.1566 | 10.6137
058_D | In-house RM | 39915.789 | 0.027622 | 0.058314 | 0.7751 | 4.2564 | 0.8186 | 1.3534
107_D | In-house RM | 2934.2664 | 0.027249 | 0.0049162 | 9.803 | 4.7344 | 0.7945 | 3.4542
108_D | In-house RM | 80742.4443 | 0.19143 | 0.12374 | 2.512 | 4.4321 | 0.8134 | 1.219
157_D | In-house RM | 4387.0972 | 0.023997 | 0.0056259 | 7.346 | 11.4253 | 0.798 | 2.9685
158_D | In-house RM | 15469.5604 | 0.081028 | 0.022904 | 5.803 | 4.8353 | 0.8014 | 1.737
207_D | In-house RM | 209.448 | 0.2324 | 0.0019137 | 134.4 | 5.0896 | 0.1004 | 11.4488
208_D | In-house RM | 228.3062 | 0.35336 | 0.0025806 | 142.5 | 4.6568 | 0.07458 | 9.8296
|  | 21834.1768 | 0.12356 | 0.03325 | 43.9394 | 284.7574 | 0.59538 | 112.6487
RM4
009_E | Jaco Lake pink | 503.6652 | 0.58301 | 0.0043549 | 168.7 | 4.4795 | 0.1095 | 7.1497
010_E | Jaco Lake pink | 23926.9675 | 0.55662 | 0.034546 | 25.61 | 5.7623 | 0.7325 | 1.6105
059_E | Jaco Lake pink | 8648.4633 | 0.57121 | 0.015708 | 54.28 | 4.1975 | 0.6082 | 2.1772
060_E | Jaco Lake pink | 116.7263 | 0.18027 | 0.0016593 | 170.1 | 5.5581 | 0.08106 | 17.0345
109_E | Jaco Lake pink | 99.9146 | 0.1015 | 0.0014537 | 155.4 | 6.5301 | 0.1179 | 18.2185
110_E | Jaco Lake pink | 2242.0336 | 0.88416 | 0.0079333 | 133.3 | 4.6501 | 0.2551 | 5.2118
159_E | Jaco Lake pink | 1089.8913 | 0.61367 | 0.0048248 | 154.3 | 5.0539 | 0.1997 | 9.7589
160_E | Jaco Lake pink | 6046.7625 | 0.37229 | 0.011458 | 49.32 | 4.3057 | 0.6318 | 2.5312
209_E | Jaco Lake pink | 599.9352 | 0.47187 | 0.0035592 | 157.9 | 4.6711 | 0.1597 | 8.1582
210_E | Jaco Lake pink | 20295.5224 | 0.90002 | 0.033281 | 41.22 | 5.7895 | 0.683 | 1.6967
|  | 6356.9882 | 0.52346 | 0.011878 | 111.013 | 108.3413 | 0.35785 | 150.7197

## Table S4. Session 3
grain | name / sample | 207Pba (cps) | Ub (ppm) | Pbc (ppm) | 238Ud 206Pb | ±2s (%) | 207Pbd 206Pb | ±2s (%)
009_U | G99-2 | 595.8946 | 0.0032963 | 0.00080686 | 5.525 | 11.6354 | 0.56025 | 7.1633
010_U |  | 578.5677 | 0.00272 | 0.00079171 | 4.7283 | 13.3433 | 0.58771 | 6.8106
011_U |  | 920.3921 | 0.003794 | 0.0011883 | 4.5723 | 11.6129 | 0.65194 | 5.9633
012_U |  | 640.1691 | 0.0032827 | 0.00068093 | 6.5201 | 11.1944 | 0.56037 | 7.6561
013_U |  | 515.2329 | 0.0027965 | 0.00060681 | 6.0969 | 12.8938 | 0.52642 | 11.3742
014_U |  | 344.6708 | 0.0027738 | 0.00043056 | 8.1033 | 10.7353 | 0.4515 | 12.9216
015_U |  | 214.8265 | 0.0030394 | 0.00038998 | 9.4543 | 7.4473 | 0.40005 | 10.0921
016_U |  | 4614.5038 | 0.0029828 | 0.0058999 | 0.79065 | 16.6002 | 0.80351 | 1.9668
017_U |  | 1171.7836 | 0.0034702 | 0.0013679 | 3.6919 | 8.773 | 0.67865 | 4.6244
018_U |  | 1003.3471 | 0.0036703 | 0.0014847 | 3.5329 | 11.5069 | 0.64852 | 4.2475
019_U |  | 1738.9202 | 0.0030002 | 0.0020331 | 2.2618 | 6.9791 | 0.76764 | 2.7595
020_U |  | 2664.2373 | 0.0029317 | 0.0021821 | 2.0382 | 14.8482 | 0.74969 | 3.1763
021_U |  | 206.8811 | 0.0025688 | 0.00034863 | 8.9285 | 9.7523 | 0.39855 | 11.2601
022_U |  | 893.8097 | 0.0028975 | 0.0011526 | 3.5901 | 13.7356 | 0.64738 | 5.2348
023_U |  | 478.5001 | 0.0030278 | 0.00065546 | 6.2595 | 9.5555 | 0.56334 | 6.0425
024_U |  | 2088.0229 | 0.0042531 | 0.0021809 | 2.8789 | 13.2558 | 0.70275 | 3.3213
025_U |  | 1431.6886 | 0.0033665 | 0.001799 | 2.8034 | 11.0425 | 0.7279 | 3.4602
026_U |  | 949.4963 | 0.0034479 | 0.0012155 | 4.1089 | 6.915 | 0.67086 | 3.9455
027_U |  | 527.321 | 0.0031256 | 0.00063595 | 6.4623 | 13.1568 | 0.51712 | 9.7604
028_U |  | 104.1889 | 0.0031012 | 0.00028179 | 12.0411 | 6.7582 | 0.26322 | 10.3013
029_U |  | 414.9473 | 0.0029237 | 0.00052096 | 7.2365 | 12.3842 | 0.48788 | 10.3487
030_U |  | 862.3123 | 0.003138 | 0.0012204 | 3.6288 | 8.5798 | 0.62799 | 3.4448
031_U |  | 2199.2266 | 0.0038842 | 0.0027707 | 2.1298 | 8.3255 | 0.75218 | 2.483
032_U |  | 301.0139 | 0.003185 | 0.00050488 | 8.0295 | 7.5246 | 0.46874 | 8.0683
033_U |  | 264.628 | 0.0029895 | 0.00043994 | 8.5733 | 8.6497 | 0.45589 | 7.8083
034_U |  | 685.5269 | 0.0029656 | 0.00090352 | 4.5921 | 10.5644 | 0.61398 | 5.283
035_U |  | 641.6626 | 0.0027727 | 0.00070556 | 5.474 | 8.7328 | 0.60691 | 5.6487
036_U |  | 2124.4739 | 0.0030963 | 0.0027867 | 1.6934 | 7.997 | 0.7578 | 2.0773
037_U |  | 206.6562 | 0.0030059 | 0.00033743 | 10.3917 | 9.1569 | 0.34654 | 13.1368
038_U |  | 294.7233 | 0.0030509 | 0.00043503 | 8.7055 | 10.0419 | 0.43252 | 12.8726
039_U |  | 4505.5859 | 0.004112 | 0.0058393 | 1.0932 | 5.851 | 0.79039 | 1.5253
040_U |  | 650.3456 | 0.0034561 | 0.00092357 | 5.2476 | 6.9207 | 0.61772 | 4.4022
042_U |  | 716.1495 | 0.0026228 | 0.00096884 | 3.8302 | 8.0664 | 0.6321 | 3.8361
043_U |  | 872.6991 | 0.0026747 | 0.0010918 | 3.5588 | 8.4249 | 0.67559 | 3.6471
044_U |  | 818.2959 | 0.0032771 | 0.0010373 | 4.4972 | 10.3225 | 0.64197 | 5.3348
045_U |  | 1620.623 | 0.0027038 | 0.0012682 | 3.1244 | 12.6911 | 0.69035 | 4.0503
046_U |  | 1318.2437 | 0.003835 | 0.0017757 | 3.1442 | 6.527 | 0.67926 | 2.9682
048_U |  | 362.5985 | 0.0026714 | 0.00048452 | 7.2445 | 10.737 | 0.51605 | 8.4239
049_U |  | 555.4308 | 0.0028605 | 0.0008221 | 4.7749 | 9.9532 | 0.5832 | 5.0362
050_U |  | 943.8437 | 0.0031662 | 0.0013206 | 3.4146 | 13.0185 | 0.64287 | 4.2922
059_U |  | 418.2185 | 0.0032465 | 0.00057576 | 7.3099 | 9.2881 | 0.49588 | 8.1477
060_U |  | 227.0687 | 0.0031649 | 0.00041185 | 9.3257 | 7.4546 | 0.40062 | 7.3425
061_U |  | 616.4793 | 0.0031168 | 0.00076296 | 5.646 | 9.8714 | 0.59441 | 5.3413
062_U |  | 1171.6816 | 0.0021522 | 0.00064656 | 4.564 | 20.0172 | 0.58179 | 11.0435
063_U |  | 556.4493 | 0.0021147 | 0.00070065 | 4.3176 | 7.6777 | 0.6501 | 5.0067
064_U |  | 1055.7621 | 0.0021057 | 0.0011424 | 2.7602 | 9.8277 | 0.72716 | 3.5252
065_U |  | 2088.1456 | 0.0020181 | 0.0006097 | 4.5487 | 20.204 | 0.5854 | 9.1231
066_U |  | 659.8155 | 0.0025918 | 0.00083368 | 4.4613 | 6.9941 | 0.65532 | 4.3473
RM0 (n=22) e |  | 195406.7426 | 0.82302 | 1.079 | 1.2379 | 1.967 | 0.87101 | 0.45968
RM1 (n=22) e |  | 2532.878 | 0.012917 | 0.0019531 | 11.9729 | 133.5029 | 0.54996 | 75.4057
RM2 (n=22) e |  | 18125.4842 | 0.056632 | 0.020552 | 19.0775 | 202.6352 | 0.72399 | 29.2118
RM3 (n=22) e |  | 9452.3684 | 0.15053 | 0.012841 | 63.2542 | 162.4688 | 0.5372 | 93.0673
a Within run background-corrected mean 207Pb signal in cps (counts per second).
b U concentration was calculated relative to the primary reference material.
c Pb concentration is the sum of 204Pb (corrected for 202Hg), 206Pb and 207Pb calculated relative to the
primary reference material
d Corrected for background, within-run Pb/U fractionation (in case of 206Pb/238U) and subsequently
normalised to the primary reference material (ID-TIMS value/measured value).
e RM1: Reference material 1.
Accuracy and reproducibilty was checked by repeated analyses of secondary reference materials;
data given as mean with 2 standard deviation uncertainties.
RM0
001_A | NIST614 | 180776.9601 | 0.83855 | 1.1139 | 1.22 | 0.20488 | 0.8695 | 0.13637
002_A | NIST614 | 182694.2508 | 0.86297 | 1.1228 | 1.246 | 0.18609 | 0.8701 | 0.1536
051_A | NIST614 | 173079.1457 | 0.75696 | 0.98859 | 1.244 | 0.18592 | 0.8738 | 0.1787
052_A | NIST614 | 170640.9098 | 0.75723 | 0.97242 | 1.266 | 0.20809 | 0.8754 | 0.16987
101_A | NIST614 | 202962.4628 | 0.8384 | 1.117 | 1.215 | 0.23906 | 0.8664 | 0.14059
102_A | NIST614 | 204582.8012 | 0.85147 | 1.1246 | 1.227 | 0.19958 | 0.8695 | 0.16883
151_A | NIST614 | 210656.484 | 0.86709 | 1.1446 | 1.228 | 0.15123 | 0.8699 | 0.13478
152_A | NIST614 | 213574.7076 | 0.88419 | 1.1581 | 1.24 | 0.21812 | 0.8724 | 0.13706
201_A | NIST614 | 188745.7106 | 0.79518 | 1.0313 | 1.251 | 0.21539 | 0.871 | 0.13033
202_A | NIST614 | 188269.2973 | 0.78957 | 1.0277 | 1.247 | 0.21424 | 0.8713 | 0.19631
251_A | NIST614 | 194081.2247 | 0.82229 | 1.0717 | 1.245 | 0.18311 | 0.871 | 0.15965
252_A | NIST614 | 187261.3858 | 0.78959 | 1.0338 | 1.24 | 0.18123 | 0.8721 | 0.13762
301_A | NIST614 | 197345.9033 | 0.82736 | 1.0915 | 1.229 | 0.21172 | 0.8691 | 0.13003
302_A | NIST614 | 203164.7342 | 0.84709 | 1.122 | 1.226 | 0.1486 | 0.8727 | 0.12714
351_A | NIST614 | 198082.7487 | 0.81475 | 1.0644 | 1.241 | 0.21237 | 0.8702 | 0.14452
352_A | NIST614 | 199550.2533 | 0.81834 | 1.0695 | 1.242 | 0.20547 | 0.872 | 0.14984
383_A | NIST614 | 211930.1412 | 0.83149 | 1.0908 | 1.236 | 0.15584 | 0.8699 | 0.15447
384_A | NIST614 | 209922.2456 | 0.82189 | 1.0764 | 1.239 | 0.15704 | 0.8718 | 0.11356
|  | 195406.7426 | 0.82302 | 1.079 | 1.2379 | 1.967 | 0.87101 | 0.45968
RM1
003_B | Mali Yellow | 3546.627 | 0.0088288 | 0.0029431 | 4.529 | 19.8187 | 0.7412 | 4.0326
004_B | Mali Yellow | 2777.8603 | 0.011323 | 0.0015612 | 10.24 | 13.4628 | 0.6284 | 7.0866
053_B | Mali Yellow | 917.0514 | 0.016396 | 0.0013064 | 15.44 | 12.6258 | 0.4198 | 15.6777
054_B | Mali Yellow | 1862.2486 | 0.016997 | 0.0022618 | 10.34 | 11.9623 | 0.5881 | 5.9084
103_B | Mali Yellow | 1108.6989 | 0.0094605 | 0.0014261 | 9.077 | 16.2438 | 0.5786 | 9.8939
104_B | Mali Yellow | 5441.3418 | 0.0078233 | 0.0017939 | 6.359 | 24.8508 | 0.682 | 8.9634
153_B | Mali Yellow | 8246.6213 | 0.014528 | 0.0061242 | 3.629 | 25.8334 | 0.7641 | 4.8961
154_B | Mali Yellow | 155.7163 | 0.01028 | 0.00043553 | 25.03 | 5.9941 | 0.2244 | 10.4717
203_B | Mali Yellow | 4587.701 | 0.015614 | 0.0030742 | 7.374 | 18.7865 | 0.6746 | 5.7971
204_B | Mali Yellow | 206.7219 | 0.010354 | 0.00050063 | 22.76 | 6.4196 | 0.2708 | 7.9553
253_B | Mali Yellow | 2704.0592 | 0.013321 | 0.0027032 | 7.027 | 18.9313 | 0.6449 | 6.5708
254_B | Mali Yellow | 397.2261 | 0.018802 | 0.00091244 | 22.6 | 7.4092 | 0.2662 | 14.5917
303_B | Mali Yellow | 3893.5714 | 0.016636 | 0.0026937 | 8.737 | 20.9425 | 0.6318 | 12.1796
304_B | Mali Yellow | 5607.9988 | 0.016421 | 0.0029371 | 8.242 | 12.3413 | 0.7004 | 4.9755
353_B | Mali Yellow | 168.3644 | 0.016789 | 0.00062376 | 26.85 | 6.235 | 0.1523 | 17.6851
354_B | Mali Yellow | 2842.9617 | 0.014137 | 0.0014845 | 13.01 | 10.7958 | 0.5759 | 9.0367
385_B | Mali Yellow | 3058.7072 | 0.011858 | 0.003463 | 5.092 | 7.5776 | 0.7152 | 2.3677
386_B | Mali Yellow | 601.205 | 0.015863 | 0.0008646 | 21.15 | 8.6077 | 0.3306 | 20.1404
|  | 2673.5935 | 0.013635 | 0.0020616 | 12.6381 | 121.2772 | 0.53274 | 74.6652
RM2
005_C | In-house RM | 18231.6181 | 0.053932 | 0.025367 | 3.325 | 11.9669 | 0.8034 | 1.1017
006_C | In-house RM | 4234.6107 | 0.047876 | 0.0053167 | 13.76 | 5.5264 | 0.7619 | 2.0512
055_C | In-house RM | 463.9285 | 0.025662 | 0.00067312 | 51.26 | 6.1009 | 0.5514 | 5.4912
056_C | In-house RM | 15077.873 | 0.021985 | 0.017928 | 1.935 | 5.1001 | 0.8202 | 1.106
105_C | In-house RM | 23093.8506 | 0.0038378 | 0.026604 | 0.2279 | 4.9039 | 0.8216 | 0.87246
106_C | In-house RM | 34200.4727 | 0.047768 | 0.029682 | 2.526 | 10.7646 | 0.8103 | 0.8264
155_C | In-house RM | 64072.9666 | 0.25934 | 0.074142 | 5.461 | 5.6963 | 0.8006 | 0.68744
156_C | In-house RM | 4519.9511 | 0.059706 | 0.0052096 | 17.15 | 9.4639 | 0.7261 | 2.4417
205_C | In-house RM | 66006.7526 | 0.003535 | 0.075293 | 0.07441 | 4.9062 | 0.8278 | 0.61716
206_C | In-house RM | 67126.2251 | 0.038946 | 0.074712 | 0.8255 | 5.8978 | 0.8263 | 0.64201
255_C | In-house RM | 5801.3281 | 0.19588 | 0.0079032 | 34.85 | 5.5247 | 0.6222 | 1.8754
256_C | In-house RM | 5971.1042 | 0.03878 | 0.0071218 | 8.436 | 9.5919 | 0.7867 | 1.7379
305_C | In-house RM | 1198.7413 | 0.038022 | 0.0015507 | 35.14 | 5.4811 | 0.653 | 3.2701
306_C | In-house RM | 877.2917 | 0.041152 | 0.0012518 | 44.89 | 5.633 | 0.5754 | 3.6542
355_C | In-house RM | 1391.0338 | 0.034286 | 0.0015572 | 31.67 | 6.4938 | 0.6593 | 3.7608
356_C | In-house RM | 1248.0235 | 0.040486 | 0.0015953 | 35.94 | 5.2563 | 0.6338 | 3.4035
387_C | In-house RM | 11774.7385 | 0.01635 | 0.012744 | 2.024 | 7.7448 | 0.8189 | 1.1685
388_C | In-house RM | 968.2059 | 0.051841 | 0.0012778 | 53.9 | 5.3347 | 0.533 | 3.8191
|  | 18125.4842 | 0.056632 | 0.020552 | 19.0775 | 202.6352 | 0.72399 | 29.2118
RM3
007_D | Jaco Lake pink | 26033.7865 | 0.20883 | 0.032466 | 10.01 | 9.9672 | 0.7941 | 1.0104
008_D | Jaco Lake pink | 417.3362 | 0.20259 | 0.0014491 | 144.7 | 6.0218 | 0.1956 | 10.4019
057_D | Jaco Lake pink | 13123.9485 | 0.11519 | 0.013267 | 13.45 | 13.695 | 0.7866 | 1.4867
058_D | Jaco Lake pink | 289.3007 | 0.12463 | 0.00090911 | 143.7 | 6.0544 | 0.2109 | 7.7443
107_D | Jaco Lake pink | 2394.6575 | 0.14498 | 0.0033591 | 59.14 | 8.1539 | 0.5807 | 3.2638
108_D | Jaco Lake pink | 11543.5619 | 0.10409 | 0.013863 | 11.63 | 7.7712 | 0.7862 | 1.2773
157_D | Jaco Lake pink | 887.3163 | 0.12538 | 0.0015699 | 97.33 | 5.2176 | 0.4066 | 4.0179
158_D | Jaco Lake pink | 7799.5215 | 0.15684 | 0.0092458 | 25.39 | 9.3926 | 0.7263 | 1.8523
207_D | Jaco Lake pink | 554.9042 | 0.048012 | 0.00094597 | 63.08 | 6.4867 | 0.4344 | 5.8541
208_D | Jaco Lake pink | 1775.8263 | 0.18533 | 0.0028723 | 82.1 | 5.1761 | 0.4683 | 2.8163
257_D | Jaco Lake pink | 39448.7586 | 0.1252 | 0.069305 | 2.859 | 14.6092 | 0.8249 | 0.8091
258_D | Jaco Lake pink | 6307.0022 | 0.16482 | 0.0076427 | 31.85 | 5.8722 | 0.7037 | 1.6285
307_D | Jaco Lake pink | 34987.1793 | 0.26807 | 0.045654 | 9.106 | 12.5188 | 0.7884 | 0.94275
308_D | Jaco Lake pink | 1182.5667 | 0.15829 | 0.002039 | 95.5 | 5.1191 | 0.4197 | 3.8375
357_D | Jaco Lake pink | 53.7717 | 0.032407 | 0.00027346 | 112.4 | 6.6095 | 0.09576 | 18.584
358_D | Jaco Lake pink | 1933.3733 | 0.14225 | 0.0027622 | 68.08 | 5.12 | 0.5253 | 2.7119
389_D | Jaco Lake pink | 21119.9286 | 0.25532 | 0.022529 | 17.35 | 6.1751 | 0.7652 | 0.9157
390_D | Jaco Lake pink | 289.8904 | 0.14729 | 0.00097779 | 150.9 | 6.6067 | 0.157 | 16.6262
|  | 9452.3684 | 0.15053 | 0.012841 | 63.2542 | 162.4688 | 0.5372 | 93.0673

## Table S5. Session 4
grain | name / sample | 207Pba (cps) | Ub (ppm) | Pbc (ppm) | 238Ud 206Pb | ±2s (%) | 207Pbd 206Pb | ±2s (%)
313_U | ST66 | 1205.1986 | 0.0011592 | 0.0021692 | 0.76497 | 3.499 | 0.65127 | 3.2755
314_U |  | 379.2892 | 0.00066437 | 0.00078435 | 1.0891 | 4.0963 | 0.48365 | 5.3434
315_U |  | 336.1002 | 0.00084054 | 0.00083014 | 1.2357 | 4.2424 | 0.40851 | 5.9733
316_U |  | 219.4849 | 0.00035178 | 0.00045723 | 0.99789 | 5.2653 | 0.49661 | 6.4755
317_U |  | 399.1536 | 0.0010523 | 0.0010331 | 1.2213 | 3.8536 | 0.38393 | 4.9916
318_U |  | 300.8428 | 0.0011714 | 0.0009013 | 1.4699 | 3.4444 | 0.30568 | 4.891
319_U |  | 297.4065 | 0.0012727 | 0.00093015 | 1.524 | 3.3298 | 0.28592 | 5.0992
320_U |  | 271.1823 | 0.00098614 | 0.00076861 | 1.4811 | 3.6685 | 0.33259 | 5.2475
321_U |  | 320.8864 | 0.0014294 | 0.0010341 | 1.536 | 3.1742 | 0.28292 | 5.1367
322_U |  | 202.9445 | 0.00050969 | 0.00050676 | 1.2133 | 4.4648 | 0.39232 | 7.1342
323_U |  | 242.5173 | 0.00065424 | 0.00058526 | 1.3572 | 4.4748 | 0.40126 | 6.6278
324_U |  | 759.5645 | 0.00053166 | 0.0012659 | 0.63126 | 4.6226 | 0.73353 | 3.8506
325_U |  | 699.7554 | 0.0021647 | 0.0018614 | 1.3545 | 5.8334 | 0.34444 | 7.5626
326_U |  | 476.03 | 0.002019 | 0.001506 | 1.4885 | 3.8802 | 0.28181 | 5.4595
327_U |  | 829.8559 | 0.00087613 | 0.0016411 | 0.75959 | 7.054 | 0.64122 | 4.3015
328_U |  | 756.8581 | 0.001007 | 0.0015019 | 0.90586 | 4.5637 | 0.55865 | 4.3766
329_U |  | 440.7249 | 0.0016448 | 0.0012652 | 1.4812 | 3.0744 | 0.31528 | 4.3798
330_U |  | 257.4005 | 0.00076419 | 0.00069058 | 1.2958 | 5.2849 | 0.35165 | 7.3315
331_U |  | 1788.2942 | 0.0010297 | 0.002859 | 0.54736 | 3.8997 | 0.75269 | 2.2618
332_U |  | 336.4696 | 0.0014663 | 0.0010891 | 1.4899 | 3.257 | 0.27761 | 5.0366
333_U |  | 310.455 | 0.001383 | 0.00098888 | 1.5478 | 3.3743 | 0.27773 | 5.3815
334_U |  | 282.9683 | 0.0012372 | 0.00087804 | 1.578 | 3.5146 | 0.29289 | 5.3541
335_U |  | 505.5753 | 0.001191 | 0.0012189 | 1.2143 | 3.6233 | 0.43411 | 4.1524
336_U |  | 314.2169 | 0.0014235 | 0.0010174 | 1.5422 | 3.3495 | 0.27255 | 5.4721
337_U |  | 349.7757 | 0.0012003 | 0.00095905 | 1.4389 | 3.5231 | 0.3272 | 4.3492
338_U |  | 524.1842 | 0.0011081 | 0.0011555 | 1.2125 | 3.5957 | 0.45911 | 4.2237
339_U |  | 360.4973 | 0.0011551 | 0.00096838 | 1.3925 | 3.428 | 0.34756 | 4.548
340_U |  | 259.4915 | 0.00092866 | 0.00074774 | 1.4308 | 3.5783 | 0.32982 | 5.431
341_U |  | 278.8407 | 0.0011612 | 0.0008354 | 1.5646 | 3.5237 | 0.29948 | 5.3778
342_U |  | 270.5698 | 0.0010828 | 0.00082284 | 1.4738 | 3.7379 | 0.29303 | 5.089
343_U |  | 366.0651 | 0.0010221 | 0.00091642 | 1.3459 | 3.8585 | 0.39283 | 5.0126
344_U |  | 564.7791 | 0.0012087 | 0.0012262 | 1.2435 | 4.0886 | 0.45578 | 4.6918
345_U |  | 1708.2018 | 0.0012463 | 0.0027958 | 0.65806 | 3.0984 | 0.70269 | 2.3031
346_U |  | 410.671 | 0.0010416 | 0.0010084 | 1.2465 | 3.4187 | 0.39267 | 4.7379
347_U |  | 660.6647 | 0.001495 | 0.0015262 | 1.2148 | 3.2662 | 0.43108 | 3.7871
348_U |  | 244.634 | 0.00063717 | 0.00060825 | 1.2601 | 5.686 | 0.38829 | 8.9405
349_U |  | 231.4615 | 0.00067332 | 0.00059576 | 1.3356 | 4.239 | 0.364 | 5.943
350_U |  | 247.2148 | 0.00057774 | 0.00058857 | 1.1973 | 5.7958 | 0.40776 | 8.5703
351_U |  | 1111.027 | 0.0021634 | 0.0023725 | 1.1753 | 2.7291 | 0.4872 | 2.7197
352_U |  | 543.4179 | 0.001901 | 0.0015584 | 1.3969 | 3.0466 | 0.32196 | 4.137
353_U |  | 252.9387 | 0.0004083 | 0.00054997 | 0.96614 | 6.3462 | 0.50158 | 9.1926
354_U |  | 256.903 | 0.00033678 | 0.00052639 | 0.84764 | 8.7811 | 0.52861 | 10.6039
355_U |  | 258.0349 | 0.00056474 | 0.00061215 | 1.1258 | 6.6934 | 0.40835 | 8.3806
356_U |  | 389.6349 | 0.00087623 | 0.00091375 | 1.1799 | 4.0223 | 0.41995 | 5.4802
357_U |  | 304.7845 | 0.0013285 | 0.00096975 | 1.5251 | 3.4091 | 0.28523 | 4.7147
358_U |  | 1063.9326 | 0.0014135 | 0.0020363 | 0.95033 | 4.1855 | 0.57944 | 4.1883
359_U |  | 216.7167 | 0.00045695 | 0.00048567 | 1.1844 | 4.8409 | 0.45273 | 6.7448
360_U |  | 277.5112 | 0.00041164 | 0.00053759 | 1.0167 | 5.1608 | 0.53198 | 6.258
361_U |  | 250.5622 | 0.00049629 | 0.00054049 | 1.1828 | 6.1584 | 0.48636 | 8.5732
362_U |  | 280.9867 | 0.0010055 | 0.00081317 | 1.4202 | 3.6343 | 0.32578 | 5.4476
363_U |  | 355.8329 | 0.0014405 | 0.0010616 | 1.5295 | 3.2256 | 0.30127 | 4.7211
364_U |  | 626.7629 | 0.0015492 | 0.0014196 | 1.3306 | 5.8615 | 0.40717 | 8.3569
365_U |  | 438.3697 | 0.0013321 | 0.0011516 | 1.3627 | 3.2023 | 0.35974 | 4.4232
434_U | ST70 | 9068.9167 | 0.017184 | 0.019244 | 1.1539 | 2.1731 | 0.49116 | 1.1872
435_U |  | 599.0098 | 0.0023875 | 0.0017858 | 1.4953 | 3.7498 | 0.29123 | 5.3983
437_U |  | 524.7359 | 0.0021455 | 0.0016057 | 1.4962 | 2.9232 | 0.2928 | 3.9989
438_U |  | 314.4064 | 0.00095603 | 0.00082591 | 1.3664 | 3.5926 | 0.36251 | 4.7127
439_U |  | 488.2912 | 0.002105 | 0.0015644 | 1.4967 | 3.0988 | 0.28416 | 3.7111
440_U |  | 747.5724 | 0.002549 | 0.0021156 | 1.3961 | 3.8417 | 0.33753 | 4.9282
441_U |  | 4371.7033 | 0.010607 | 0.0093847 | 1.4473 | 2.3651 | 0.47754 | 1.891
442_U |  | 573.3323 | 0.0016097 | 0.0014445 | 1.3209 | 3.395 | 0.36807 | 4.2459
443_U |  | 308.5323 | 0.0012352 | 0.00092927 | 1.5017 | 3.388 | 0.30426 | 4.6165
444_U |  | 371.6626 | 0.00148 | 0.0011464 | 1.4436 | 3.6453 | 0.29097 | 5.2459
445_U |  | 288.4003 | 0.0012728 | 0.00091843 | 1.5318 | 3.2358 | 0.27608 | 4.9444
446_U |  | 557.787 | 0.0020129 | 0.0015868 | 1.4318 | 3.5957 | 0.30305 | 4.5615
447_U |  | 593.2785 | 0.0025839 | 0.0020625 | 1.3544 | 3.0881 | 0.24827 | 4.3822
448_U |  | 389.1228 | 0.001516 | 0.0011637 | 1.477 | 3.1322 | 0.30882 | 4.4436
449_U |  | 363.3125 | 0.0017594 | 0.0012351 | 1.5521 | 3.1891 | 0.25808 | 4.5145
450_U |  | 4109.3591 | 0.0068103 | 0.0085203 | 1.0489 | 2.6745 | 0.51416 | 2.0673
451_U |  | 376.9535 | 0.0012665 | 0.0010445 | 1.41 | 3.5333 | 0.34224 | 4.6556
452_U |  | 1048.2883 | 0.0028349 | 0.0024982 | 1.372 | 2.9961 | 0.39538 | 3.0504
453_U |  | 2550.1315 | 0.0068713 | 0.0059436 | 1.3808 | 2.4665 | 0.37853 | 4.7631
454_U |  | 380.8699 | 0.0020293 | 0.0013322 | 1.6509 | 2.8802 | 0.2514 | 4.8181
455_U |  | 11340.8157 | 0.0038372 | 0.016353 | 0.37599 | 3.022 | 0.84776 | 1.4682
456_U |  | 485.9224 | 0.0014232 | 0.0012578 | 1.3445 | 3.1946 | 0.37158 | 4.0839
457_U |  | 339.2464 | 0.0014958 | 0.0010904 | 1.5232 | 3.1166 | 0.28193 | 4.4739
458_U |  | 874.1423 | 0.0043196 | 0.0029281 | 1.6203 | 3.0051 | 0.26811 | 3.5611
459_U |  | 1052.9845 | 0.0024671 | 0.0024363 | 1.2365 | 3.103 | 0.40923 | 3.1715
460_U |  | 3651.4142 | 0.0029666 | 0.0062918 | 0.68688 | 2.698 | 0.68035 | 1.918
461_U |  | 604.0656 | 0.0032257 | 0.0021425 | 1.6243 | 2.6985 | 0.2457 | 3.4365
462_U |  | 496.0139 | 0.0025888 | 0.0017138 | 1.6447 | 2.8065 | 0.25709 | 3.9599
463_U |  | 2059.8924 | 0.004508 | 0.0045889 | 1.2319 | 2.9181 | 0.44716 | 3.2839
464_U |  | 707.8969 | 0.003362 | 0.0023275 | 1.5874 | 2.6774 | 0.26879 | 3.4429
465_U |  | 765.6224 | 0.004142 | 0.0027605 | 1.6136 | 2.5658 | 0.24167 | 3.2083
466_U |  | 624.877 | 0.0035553 | 0.0023443 | 1.6171 | 2.8353 | 0.23121 | 4.2713
467_U |  | 5516.83 | 0.0085105 | 0.011391 | 0.97438 | 3.008 | 0.50489 | 2.0618
468_U |  | 841.2038 | 0.0038388 | 0.0024897 | 1.7514 | 2.8995 | 0.31129 | 3.5967
469_U |  | 401.652 | 0.0020572 | 0.001392 | 1.6105 | 3.3063 | 0.25821 | 4.7932
470_U |  | 1053.9779 | 0.001522 | 0.002092 | 0.97748 | 3.1293 | 0.55007 | 2.9456
471_U |  | 343925.4647 | 0.026604 | 1.9598 | 0.024146 | 2.2789 | 1.0505 | 0.58363
472_U |  | 904.4995 | 0.0015628 | 0.0017903 | 1.1749 | 3.6309 | 0.55288 | 4.597
473_U |  | 853.7288 | 0.0049926 | 0.0032582 | 1.6279 | 2.6834 | 0.22673 | 3.2293
474_U |  | 679.968 | 0.0041296 | 0.0026419 | 1.6571 | 2.723 | 0.22412 | 4.5734
475_U |  | 938.7715 | 0.0059262 | 0.0036503 | 1.7196 | 2.481 | 0.22305 | 2.6751
476_U |  | 1304.4259 | 0.007326 | 0.0046732 | 1.6949 | 2.5585 | 0.24835 | 2.5688
477_U |  | 1002.6201 | 0.0052085 | 0.0035161 | 1.6036 | 2.5576 | 0.24994 | 2.9621
478_U |  | 850.007 | 0.004483 | 0.0030796 | 1.5747 | 3.0119 | 0.24899 | 3.4329
479_U |  | 1060.7085 | 0.0063521 | 0.0041305 | 1.6228 | 2.9062 | 0.21849 | 3.7646
480_U |  | 724.3166 | 0.0045416 | 0.002897 | 1.6479 | 2.814 | 0.21385 | 3.4772
481_U |  | 405.1975 | 0.002351 | 0.0015148 | 1.6625 | 3.1948 | 0.23688 | 4.4321
482_U |  | 372.4752 | 0.0016915 | 0.001193 | 1.5743 | 3.3706 | 0.2819 | 4.7138
483_U |  | 566.1581 | 0.0031451 | 0.0020429 | 1.6523 | 2.7426 | 0.23925 | 3.7367
484_U |  | 655.1172 | 0.0026749 | 0.0020721 | 1.4587 | 3.4226 | 0.30443 | 5.1028
485_U |  | 1064.1632 | 0.004395 | 0.0033987 | 1.4394 | 2.5824 | 0.28503 | 3.2443
486_U |  | 532.4426 | 0.0027246 | 0.0018882 | 1.5664 | 2.8415 | 0.25332 | 3.8011
487_U |  | 1402.4403 | 0.005222 | 0.0040537 | 1.4733 | 2.4026 | 0.32023 | 2.5643
488_U |  | 717.7183 | 0.0033629 | 0.0024094 | 1.5296 | 2.6478 | 0.26524 | 3.2301
489_U |  | 995.2871 | 0.0030782 | 0.0026677 | 1.3583 | 2.7269 | 0.35871 | 2.8205
490_U |  | 669.5219 | 0.0039741 | 0.0025377 | 1.6633 | 2.5641 | 0.22645 | 3.3951
491_U |  | 855.8419 | 0.0039654 | 0.0028711 | 1.5195 | 2.8184 | 0.27023 | 3.3306
RM0 (n=18) e |  | 128660.8089 | 0.823 | 1.0787 | 1.238 | 1.1872 | 0.87099 | 0.25954
RM1 (n=18) e |  | 993.832 | 0.027095 | 0.0021728 | 18.0049 | 62.9143 | 0.39845 | 75.0621
RM2 (n=18) e |  | 12898.8404 | 0.062949 | 0.019791 | 9.5242 | 191.6449 | 0.77845 | 13.2993
RM3 (n=18) e |  | 38518.1297 | 0.30402 | 0.043469 | 95.4929 | 66.2495 | 0.44509 | 60.4362
a Within run background-corrected mean 207Pb signal in cps (counts per second).
b U concentration was calculated relative to the primary reference material.
c Pb concentration is the sum of 204Pb (corrected for 202Hg), 206Pb and 207Pb calculated relative to the
primary reference material. 208Pb was not measured.
d Corrected for background, within-run Pb/U fractionation (in case of 206Pb/238U) and subsequently
normalised to the primary reference material (ID-TIMS value/measured value).
e RM1: Reference material 1.
Accuracy and reproducibilty was checked by repeated analyses of secondary reference materials;
data given as mean with 2 standard deviation uncertainties.
RM0
001_A | NIST614 | 131379.1502 | 0.82961 | 1.0896 | 1.236 | 0.1628 | 0.8722 | 0.16056
002_A | NIST614 | 130972.4237 | 0.82741 | 1.0868 | 1.235 | 0.21176 | 0.8707 | 0.14886
051_A | NIST614 | 127328.2725 | 0.80544 | 1.0567 | 1.237 | 0.20795 | 0.8717 | 0.2517
052_A | NIST614 | 128057.6685 | 0.8204 | 1.0654 | 1.248 | 0.1975 | 0.8693 | 0.16223
101_A | NIST614 | 128938.9796 | 0.82147 | 1.0751 | 1.24 | 0.16488 | 0.8717 | 0.15799
102_A | NIST614 | 129914.1749 | 0.83098 | 1.0867 | 1.24 | 0.14812 | 0.8695 | 0.19728
151_A | NIST614 | 129125.8006 | 0.82074 | 1.0827 | 1.229 | 0.22165 | 0.8702 | 0.19076
152_A | NIST614 | 128634.8093 | 0.81938 | 1.0793 | 1.232 | 0.16693 | 0.8721 | 0.19097
201_A | NIST614 | 127635.8396 | 0.81675 | 1.0734 | 1.235 | 0.20451 | 0.8716 | 0.16583
202_A | NIST614 | 130001.4904 | 0.83569 | 1.0954 | 1.237 | 0.17314 | 0.8695 | 0.18603
251_A | NIST614 | 128338.9535 | 0.8258 | 1.0808 | 1.241 | 0.17936 | 0.8723 | 0.18689
252_A | NIST614 | 129563.0441 | 0.83361 | 1.0911 | 1.241 | 0.21968 | 0.8732 | 0.1957
301_A | NIST614 | 128035.0023 | 0.82095 | 1.0759 | 1.238 | 0.19649 | 0.8705 | 0.17153
302_A | NIST614 | 126346.6352 | 0.81739 | 1.0631 | 1.247 | 0.16484 | 0.8699 | 0.20768
401_A | NIST614 | 128360.8138 | 0.81427 | 1.0747 | 1.229 | 0.20918 | 0.8699 | 0.16043
402_A | NIST614 | 128954.9871 | 0.82469 | 1.0795 | 1.24 | 0.21318 | 0.8711 | 0.16033
492_A | NIST614 | 124749.984 | 0.81953 | 1.06 | 1.255 | 0.2151 | 0.8716 | 0.1518
493_A | NIST614 | 129556.5306 | 0.82988 | 1.1004 | 1.224 | 0.22265 | 0.8708 | 0.18783
|  | 128660.8089 | 0.823 | 1.0787 | 1.238 | 1.1872 | 0.87099 | 0.25954
RM1
005_C | Mali yellow | 1004.9452 | 0.023808 | 0.0020186 | 15.19 | 3.8559 | 0.4863 | 4.087
006_C | Mali yellow | 659.1413 | 0.013481 | 0.0013225 | 13.3 | 3.6849 | 0.506 | 4.1084
055_C | Mali yellow | 501.2339 | 0.034875 | 0.0016512 | 23.06 | 2.8333 | 0.2606 | 4.0698
056_C | Mali yellow | 500.6851 | 0.0203 | 0.0012556 | 19.25 | 4.1621 | 0.374 | 7.2082
105_C | Mali yellow | 326.9376 | 0.031379 | 0.0012933 | 25.37 | 2.8087 | 0.2074 | 5.4872
106_C | Mali yellow | 2155.1013 | 0.032261 | 0.003958 | 11.15 | 3.2382 | 0.578 | 2.2492
155_C | Mali yellow | 823.3451 | 0.025106 | 0.0019167 | 16.27 | 2.7979 | 0.4338 | 3.994
156_C | Mali yellow | 516.5792 | 0.028939 | 0.001526 | 21.34 | 4.728 | 0.2993 | 8.5383
205_C | Mali yellow | 2527.6818 | 0.036856 | 0.0047092 | 10.75 | 2.9917 | 0.5849 | 2.3327
206_C | Mali yellow | 2090.4556 | 0.02567 | 0.0035869 | 10.02 | 4.5217 | 0.6154 | 2.6488
255_C | Mali yellow | 414.3118 | 0.026822 | 0.0013181 | 22.53 | 3.0853 | 0.278 | 4.8293
256_C | Mali yellow | 420.9351 | 0.031517 | 0.0014623 | 23.51 | 3.7581 | 0.2593 | 6.6248
305_C | Mali yellow | 266.386 | 0.017563 | 0.0008603 | 22.5 | 3.8488 | 0.2726 | 7.8749
405_C | Mali yellow | 435.1429 | 0.028266 | 0.0013678 | 22.9 | 2.9091 | 0.2796 | 5.6376
406_C | Mali yellow | 370.7576 | 0.032262 | 0.0014152 | 24.29 | 3.542 | 0.2306 | 7.0165
496_C | Mali yellow | 3404.5283 | 0.038123 | 0.0062071 | 8.763 | 3.2904 | 0.6459 | 1.9845
497_C | Mali yellow | 476.9767 | 0.013391 | 0.001068 | 15.89 | 6.0961 | 0.462 | 6.377
|  | 993.832 | 0.027095 | 0.0021728 | 18.0049 | 62.9143 | 0.39845 | 75.0621
RM2
007_D | In-house RM | 8431.2872 | 0.05806 | 0.012774 | 7.078 | 2.2818 | 0.7959 | 1.2625
008_D | In-house RM | 14468.5582 | 0.072443 | 0.020935 | 5.42 | 2.8936 | 0.8062 | 1.0224
057_D | In-house RM | 9722.5051 | 0.065756 | 0.015025 | 6.789 | 2.1086 | 0.7889 | 1.1348
058_D | In-house RM | 13133.8633 | 0.078549 | 0.020082 | 6.093 | 2.1863 | 0.7964 | 1.0378
107_D | In-house RM | 13171.6787 | 0.072956 | 0.020319 | 5.6 | 2.1994 | 0.7986 | 1.0234
108_D | In-house RM | 6866.748 | 0.062032 | 0.010751 | 8.934 | 3.5608 | 0.7857 | 1.3189
157_D | In-house RM | 5350.5583 | 0.059822 | 0.0084946 | 10.84 | 2.4927 | 0.7757 | 1.3963
158_D | In-house RM | 5686.7084 | 0.062817 | 0.0091302 | 10.58 | 3.4276 | 0.7733 | 2.4047
207_D | In-house RM | 19446.266 | 0.061962 | 0.030827 | 3.154 | 4.4995 | 0.8095 | 0.90405
208_D | In-house RM | 21600.0995 | 0.088901 | 0.032275 | 4.321 | 2.6007 | 0.8092 | 0.92494
257_D | In-house RM | 51163.2064 | 0.062969 | 0.077716 | 1.28 | 2.0649 | 0.8212 | 0.72329
258_D | In-house RM | 21265.3677 | 0.042125 | 0.033167 | 2.002 | 2.655 | 0.8177 | 0.8582
307_D | In-house RM | 1739.0736 | 0.050962 | 0.0029493 | 25.31 | 3.6756 | 0.6897 | 3.2773
307_D (b) | In-house RM | 2989.2664 | 0.049818 | 0.0047155 | 15.95 | 4.2389 | 0.7412 | 2.2827
308_D | In-house RM | 2959.9197 | 0.048343 | 0.0047983 | 15.25 | 3.491 | 0.7461 | 2.2819
407_D | In-house RM | 16175.3986 | 0.079301 | 0.023375 | 5.302 | 2.5215 | 0.8022 | 0.9654
408_D | In-house RM | 1097.3449 | 0.055245 | 0.0019961 | 38.65 | 2.9785 | 0.6112 | 2.92
498_D | In-house RM | 16130.5036 | 0.062001 | 0.02544 | 3.825 | 3.3408 | 0.81 | 0.94544
499_D | In-house RM | 13679.6131 | 0.061975 | 0.021255 | 4.581 | 2.2719 | 0.8118 | 0.91443
|  | 12898.8404 | 0.062949 | 0.019791 | 9.5242 | 191.6449 | 0.77845 | 13.2993
RM3
009_E | Jako Lake Pink | 1676.0623 | 0.30281 | 0.0037796 | 98.78 | 2.9303 | 0.4229 | 3.4303
010_E | Jako Lake Pink | 2049.9276 | 0.29461 | 0.004243 | 89.29 | 2.9866 | 0.4839 | 3.1203
059_E | Jako Lake Pink | 1404.6226 | 0.30873 | 0.0033295 | 111.1 | 3.7954 | 0.3832 | 4.7327
060_E | Jako Lake Pink | 1833.9897 | 0.30908 | 0.0040919 | 94.43 | 2.3714 | 0.4427 | 2.408
109_E | Jako Lake Pink | 832.292 | 0.30443 | 0.002591 | 130.9 | 2.7686 | 0.2864 | 4.3434
110_E | Jako Lake Pink | 1090.2239 | 0.30346 | 0.0029716 | 118.9 | 2.6634 | 0.3445 | 3.4125
159_E | Jako Lake Pink | 661.3406 | 0.31104 | 0.002344 | 143 | 3.1295 | 0.2445 | 4.7807
159_E (b) | Jako Lake Pink | 1236.4187 | 0.30905 | 0.0032041 | 114.8 | 3.5863 | 0.3742 | 4.485
160_E | Jako Lake Pink | 664216.7944 | 0.29773 | 0.71679 | 0.6619 | 8.4523 | 0.8377 | 0.51989
209_E | Jako Lake Pink | 1276.8671 | 0.30783 | 0.0032607 | 112.3 | 2.5835 | 0.3733 | 2.7459
210_E | Jako Lake Pink | 1934.683 | 0.35925 | 0.004566 | 96.41 | 3.0128 | 0.4142 | 3.6837
259_E | Jako Lake Pink | 1901.9919 | 0.25102 | 0.0038598 | 83.71 | 5.4715 | 0.4852 | 4.5853
260_E | Jako Lake Pink | 1661.0532 | 0.36178 | 0.0039474 | 110.7 | 2.4885 | 0.3938 | 2.9446
309_E | Jako Lake Pink | 2223.088 | 0.24686 | 0.0043427 | 75.65 | 2.6527 | 0.5355 | 2.2992
310_E | Jako Lake Pink | 2117.4326 | 0.37867 | 0.0048218 | 98.27 | 2.6548 | 0.4441 | 2.2258
409_E | Jako Lake Pink | 3370.2687 | 0.27769 | 0.0062077 | 62.22 | 3.1998 | 0.6045 | 1.9961
410_E | Jako Lake Pink | 2514.7713 | 0.22614 | 0.0046733 | 66.05 | 2.5816 | 0.5748 | 2.1011
500_E | Jako Lake Pink | 1324.5075 | 0.32217 | 0.0034125 | 111.7 | 3.1969 | 0.3662 | 4.0733
|  | 38518.1297 | 0.30402 | 0.043469 | 95.4929 | 66.2495 | 0.44509 | 60.4362

## Table S6. Session 5
grain | name / sample | 207Pba (cps) | Ub (ppm) | Pbc (ppm) | 238Ud 206Pb | ±2s (%) | 207Pbd 206Pb | ±2s (%)
269_U | L02100_grt | 368.6353 | 0.013946 | 0.0011962 | 26.7131 | 7.0933 | 0.52278 | 6.6329
270_U |  | 2527.4817 | 0.014453 | 0.0072899 | 6.2545 | 4.1614 | 0.78299 | 2.4429
271_U |  | 3141.6254 | 0.014999 | 0.00889 | 5.4547 | 5.2875 | 0.80002 | 2.0254
272_U |  | 2411.0307 | 0.014537 | 0.0068406 | 6.8078 | 7.531 | 0.77671 | 2.3967
273_U |  | 2004.3799 | 0.015834 | 0.005505 | 9.1314 | 8.3535 | 0.74392 | 2.7268
274_U |  | 879.1073 | 0.017903 | 0.0026802 | 18.3207 | 4.9025 | 0.63536 | 3.9582
275_U |  | 2147.889 | 0.015917 | 0.0061709 | 8.0002 | 4.8115 | 0.75542 | 2.2357
276_U |  | 760.3413 | 0.015992 | 0.0023206 | 18.7104 | 5.7648 | 0.60158 | 4.1846
277_U |  | 459.4302 | 0.013568 | 0.0013769 | 24.3608 | 7.6565 | 0.53986 | 6.0913
278_U |  | 5593.9146 | 0.014269 | 0.015479 | 3.1002 | 6.4978 | 0.81851 | 2.0586
279_U |  | 760.8855 | 0.014205 | 0.0022274 | 17.8877 | 5.4573 | 0.63152 | 3.9757
280_U |  | 764.6613 | 0.014748 | 0.00233 | 17.2714 | 5.8616 | 0.62748 | 4.2659
281_U |  | 838.3864 | 0.015001 | 0.0025013 | 16.8322 | 6.0964 | 0.63325 | 3.6393
282_U |  | 342.9125 | 0.013787 | 0.0010645 | 30.1228 | 5.6816 | 0.47898 | 6.1062
283_U |  | 2359.1991 | 0.017185 | 0.0066318 | 8.1789 | 8.9195 | 0.7408 | 2.6581
284_U |  | 3697.1561 | 0.018312 | 0.010134 | 5.9015 | 8.2619 | 0.77384 | 2.0951
285_U |  | 3815.6874 | 0.017986 | 0.011025 | 5.1568 | 4.3797 | 0.78304 | 1.7154
286_U |  | 2885.2432 | 0.017999 | 0.0080252 | 7.2127 | 6.2849 | 0.76643 | 1.9939
287_U |  | 781.2772 | 0.017773 | 0.0023861 | 19.8646 | 5.5886 | 0.61702 | 4.5839
288_U |  | 425.8594 | 0.013949 | 0.001336 | 25.8871 | 5.2723 | 0.53028 | 5.5023
289_U |  | 1387.5395 | 0.015123 | 0.0040767 | 10.9482 | 5.3555 | 0.71145 | 3.1467
290_U |  | 3775.7591 | 0.015808 | 0.010725 | 4.7227 | 4.5205 | 0.80106 | 1.8489
291_U |  | 335.3476 | 0.013892 | 0.0011014 | 28.5275 | 5.1147 | 0.48553 | 6.278
292_U |  | 2001.1021 | 0.016857 | 0.0057695 | 9.0159 | 6.4005 | 0.7432 | 2.5881
293_U |  | 2367.3117 | 0.016003 | 0.0069187 | 7.1712 | 4.6608 | 0.75448 | 2.3112
294_U |  | 2386.6918 | 0.017672 | 0.0065307 | 8.7949 | 9.8896 | 0.73901 | 2.7273
295_U |  | 289.8524 | 0.014225 | 0.0010082 | 30.6395 | 5.6997 | 0.43573 | 6.8444
296_U |  | 752.4721 | 0.015766 | 0.0022718 | 18.9148 | 6.5276 | 0.62147 | 4.0631
297_U |  | 1510.2338 | 0.014448 | 0.0038464 | 12.2131 | 8.571 | 0.68373 | 3.3616
298_U |  | 184.5033 | 0.011889 | 0.00066469 | 34.3823 | 6.5191 | 0.37464 | 9.8327
299_U |  | 735.6769 | 0.015483 | 0.002059 | 21.3121 | 9.5712 | 0.59689 | 5.8313
300_U |  | 1873.6316 | 0.015741 | 0.005257 | 9.492 | 8.4862 | 0.74378 | 3.4037
309_U |  | 5327.8569 | 0.0091857 | 0.014326 | 2.1928 | 5.1516 | 0.82001 | 1.4717
310_U |  | 2148.8277 | 0.006308 | 0.0062226 | 3.1284 | 4.2644 | 0.77119 | 2.2822
311_U |  | 407.3497 | 0.0063257 | 0.0013762 | 10.7476 | 5.2162 | 0.49678 | 5.2047
312_U |  | 788.1762 | 0.010094 | 0.0023711 | 11.912 | 4.7725 | 0.65843 | 4.3494
313_U |  | 1045.6378 | 0.0099607 | 0.0030693 | 9.4236 | 5.816 | 0.7059 | 4.418
314_U |  | 1612.1537 | 0.016511 | 0.0046901 | 10.5989 | 5.3509 | 0.73402 | 2.7436
315_U |  | 310.3101 | 0.0095242 | 0.00099607 | 21.586 | 5.5506 | 0.48163 | 7.3743
316_U |  | 223.6335 | 0.011938 | 0.00084512 | 27.0583 | 5.4778 | 0.38773 | 9.7947
317_U |  | 1063.8079 | 0.014644 | 0.0032149 | 12.9545 | 6.1453 | 0.68057 | 3.5297
437_U | L212_grt | 258.2238 | 0.012254 | 0.00086805 | 31.328 | 6.8438 | 0.44125 | 7.5618
438_U |  | 340.7409 | 0.012226 | 0.0011155 | 25.4429 | 5.2608 | 0.50528 | 6.0102
439_U |  | 233.4611 | 0.012294 | 0.00084606 | 30.6566 | 5.3243 | 0.42337 | 6.7004
440_U |  | 1227.0013 | 0.012841 | 0.0036721 | 10.3085 | 4.9742 | 0.72278 | 3.2134
441_U |  | 1307.9524 | 0.013133 | 0.0038362 | 10.2814 | 6.7002 | 0.71714 | 3.0833
442_U |  | 4010.9553 | 0.018672 | 0.011963 | 5.0407 | 4.9903 | 0.78777 | 2.5918
443_U |  | 6985.8856 | 0.036358 | 0.020612 | 5.7796 | 6.8043 | 0.79736 | 1.3951
444_U |  | 516.2854 | 0.013629 | 0.0015435 | 23.1834 | 8.5714 | 0.52186 | 6.0789
445_U |  | 373.0296 | 0.013811 | 0.0011912 | 27.3903 | 5.6131 | 0.52345 | 5.9161
446_U |  | 446.3372 | 0.013359 | 0.0014064 | 24.0132 | 5.5058 | 0.54813 | 5.7942
447_U |  | 790.6962 | 0.012965 | 0.0024211 | 14.9238 | 4.8225 | 0.66043 | 4.1478
448_U |  | 894.658 | 0.012898 | 0.0027549 | 13.3476 | 5.107 | 0.68133 | 3.5247
449_U |  | 948.3483 | 0.013096 | 0.0028757 | 12.9756 | 5.0437 | 0.69868 | 3.4905
450_U |  | 940.5064 | 0.014174 | 0.0027954 | 14.3295 | 5.5634 | 0.68032 | 3.6572
459_U |  | 310.3595 | 0.0090282 | 0.0010214 | 21.3814 | 5.5769 | 0.52544 | 7.1414
460_U |  | 299.6631 | 0.007839 | 0.00095479 | 20.3268 | 5.7382 | 0.57135 | 5.998
461_U |  | 404.3433 | 0.0092947 | 0.0013043 | 17.9009 | 4.9147 | 0.58979 | 5.2731
462_U |  | 1091.8586 | 0.011452 | 0.0033375 | 10.2659 | 5.5309 | 0.70174 | 3.5128
463_U |  | 627.8665 | 0.0088431 | 0.0019207 | 12.8814 | 5.3973 | 0.67485 | 4.5586
464_U |  | 186.5626 | 0.012182 | 0.000699 | 34.2658 | 5.601 | 0.38723 | 7.4802
465_U |  | 166.9175 | 0.012775 | 0.00064128 | 36.2133 | 5.1711 | 0.3543 | 6.6237
466_U |  | 357.2243 | 0.012545 | 0.0011344 | 26.4193 | 5.5655 | 0.5318 | 5.9694
467_U |  | 377.7044 | 0.012689 | 0.0012 | 25.8548 | 5.4424 | 0.53933 | 5.2122
468_U |  | 781.1071 | 0.012648 | 0.0023315 | 15.1653 | 4.6205 | 0.65312 | 3.7498
469_U |  | 255.4184 | 0.01224 | 0.00088185 | 29.6907 | 5.5676 | 0.44356 | 6.7629
470_U |  | 128.7961 | 0.01318 | 0.0005369 | 42.1337 | 5.953 | 0.30895 | 8.6643
471_U |  | 375.7542 | 0.014848 | 0.001232 | 28.4629 | 5.7908 | 0.4911 | 5.8664
472_U |  | 246.7973 | 0.015009 | 0.00089422 | 34.0635 | 5.8057 | 0.41181 | 5.863
473_U |  | 169.2055 | 0.013075 | 0.00066925 | 35.9417 | 5.3535 | 0.35556 | 7.8709
474_U |  | 180.9659 | 0.013024 | 0.00068294 | 35.9319 | 6.7242 | 0.35622 | 8.9016
475_U |  | 151.5957 | 0.012766 | 0.00060633 | 37.9201 | 6.1377 | 0.3333 | 9.2197
476_U |  | 3819.6758 | 0.013492 | 0.011306 | 3.8069 | 4.7867 | 0.79568 | 2.0024
477_U |  | 262.9039 | 0.012939 | 0.00094588 | 29.0134 | 5.189 | 0.44828 | 5.9877
478_U |  | 2243.3864 | 0.013728 | 0.00668 | 6.4941 | 4.6908 | 0.76087 | 2.4248
479_U |  | 3253.2034 | 0.012355 | 0.0095049 | 4.1881 | 4.1011 | 0.79335 | 2.0428
480_U |  | 476.4478 | 0.012597 | 0.0014866 | 21.5313 | 5.5847 | 0.55581 | 5.4343
481_U |  | 242.6197 | 0.013022 | 0.00084293 | 31.7827 | 6.3824 | 0.43524 | 7.5337
482_U |  | 317.4692 | 0.013256 | 0.0010633 | 28.7879 | 6.0499 | 0.49509 | 6.0861
483_U |  | 492.0967 | 0.013264 | 0.0015533 | 21.5861 | 5.5702 | 0.58545 | 5.0218
484_U |  | 203.0182 | 0.0064767 | 0.00071902 | 19.874 | 5.7365 | 0.4436 | 7.799
485_U |  | 162.5539 | 0.0038278 | 0.00062681 | 12.6884 | 5.9251 | 0.40855 | 8.069
486_U |  | 190.7919 | 0.0055659 | 0.00065781 | 18.3358 | 6.0821 | 0.47728 | 7.9228
487_U |  | 236.3665 | 0.0043358 | 0.00083403 | 11.85 | 5.6331 | 0.46842 | 6.6845
488_U |  | 474.8753 | 0.005911 | 0.0014654 | 10.8141 | 5.9453 | 0.6288 | 4.8625
489_U |  | 256.3729 | 0.012066 | 0.00088812 | 29.9273 | 5.4623 | 0.44645 | 7.1883
490_U |  | 171.3097 | 0.012429 | 0.00064737 | 36.892 | 5.3964 | 0.38413 | 7.2122
491_U |  | 642.5655 | 0.012541 | 0.0020338 | 16.3447 | 6.342 | 0.6104 | 4.4142
492_U |  | 361.5628 | 0.01263 | 0.0011939 | 25.0102 | 5.4291 | 0.50399 | 6.3714
RM0 (n=22) e |  | 166894.7945 | 0.823 | 2.2576 | 1.2384 | 3.5939 | 0.871 | 0.26362
RM1 (n=22) e |  | 6696.7703 | 0.022387 | 0.016135 | 17.3305 | 98.4513 | 0.41043 | 108.0677
RM2 (n=22) e |  | 20857.1845 | 0.38698 | 0.057949 | 55.8095 | 178.4789 | 0.59862 | 71.8518
RM3 (n=22) e |  | 27684.5051 | 0.12418 | 0.079722 | 12.5192 | 321.4553 | 0.75909 | 28.8
a Within run background-corrected mean 207Pb signal in cps (counts per second).
b U concentration was calculated relative to the primary reference material.
c Pb concentration is the sum of 204Pb (corrected for 202Hg), 206Pb and 207Pb calculated relative to the
primary reference material
d Corrected for background, within-run Pb/U fractionation (in case of 206Pb/238U) and subsequently
normalised to the primary reference material (ID-TIMS value/measured value).
e RM1: Reference material 1.
Accuracy and reproducibilty was checked by repeated analyses of secondary reference materials;
data given as mean with 2 standard deviation uncertainties.
RM0
001_A | NIST614 | 173514.7289 | 0.8225 | 2.2989 | 1.224 | 0.29239 | 0.8721 | 0.19409
002_A | NIST614 | 169850.2722 | 0.8243 | 2.2597 | 1.244 | 0.31988 | 0.8691 | 0.17277
051_A | NIST614 | 166520.2562 | 0.81892 | 2.2474 | 1.244 | 0.32078 | 0.8727 | 0.20969
052_A | NIST614 | 167060.565 | 0.823 | 2.2536 | 1.247 | 0.30018 | 0.8717 | 0.20742
101_A | NIST614 | 166062.3017 | 0.82888 | 2.2413 | 1.261 | 0.27329 | 0.8704 | 0.21035
102_A | NIST614 | 167707.4753 | 0.82273 | 2.2639 | 1.239 | 0.31828 | 0.8698 | 0.16816
151_A | NIST614 | 174838.3038 | 0.82701 | 2.3519 | 1.196 | 0.28091 | 0.8704 | 0.17395
152_A | NIST614 | 169578.8001 | 0.81964 | 2.2837 | 1.222 | 0.30578 | 0.8711 | 0.18199
201_A | NIST614 | 168725.5966 | 0.82197 | 2.2683 | 1.234 | 0.30607 | 0.8716 | 0.19741
202_A | NIST614 | 168157.0773 | 0.81563 | 2.2572 | 1.232 | 0.32183 | 0.8718 | 0.17327
251_A | NIST614 | 164147.7697 | 0.82446 | 2.2127 | 1.266 | 0.32926 | 0.8706 | 0.18266
252_A | NIST614 | 164247.5505 | 0.82908 | 2.2161 | 1.272 | 0.28361 | 0.8699 | 0.17889
301_A | NIST614 | 165276.2888 | 0.82926 | 2.2395 | 1.258 | 0.36024 | 0.8709 | 0.18978
302_A | NIST614 | 165993.2737 | 0.81997 | 2.2486 | 1.242 | 0.28163 | 0.8719 | 0.18546
351_A | NIST614 | 170450.1698 | 0.81697 | 2.3277 | 1.19 | 0.28324 | 0.8695 | 0.17536
352_A | NIST614 | 166270.2646 | 0.81757 | 2.2689 | 1.225 | 0.35403 | 0.8733 | 0.16953
401_A | NIST614 | 166636.7262 | 0.82191 | 2.2877 | 1.22 | 0.36094 | 0.8699 | 0.17069
402_A | NIST614 | 164429.0436 | 0.82896 | 2.2611 | 1.245 | 0.32763 | 0.8713 | 0.21928
451_A | NIST614 | 159264.7731 | 0.82997 | 2.2017 | 1.28 | 0.3018 | 0.8712 | 0.16847
452_A | NIST614 | 161386.1277 | 0.82003 | 2.2376 | 1.243 | 0.28863 | 0.8706 | 0.17461
493_A | NIST614 | 160743.9954 | 0.82253 | 2.2496 | 1.242 | 0.34955 | 0.8719 | 0.16751
494_A | NIST614 | 163008.6712 | 0.82072 | 2.2909 | 1.216 | 0.28835 | 0.8704 | 0.15876
|  | 166539.5469 | 0.823 | 2.2622 | 1.2383 | 3.6013 | 0.871 | 0.24429
RM1
004_B | Mali Yellow | 863.0087 | 0.017584 | 0.0036519 | 14.62 | 4.6973 | 0.4942 | 3.3825
053_B | Mali Yellow | 643.8161 | 0.020078 | 0.0032515 | 17.26 | 4.2396 | 0.396 | 4.2592
054_B | Mali Yellow | 2001.2368 | 0.025524 | 0.0072917 | 10.69 | 4.0229 | 0.5925 | 2.0258
103_B | Mali Yellow | 3624.1897 | 0.01641 | 0.011458 | 4.702 | 4.8752 | 0.7313 | 1.8479
104_B | Mali Yellow | 982.8499 | 0.038173 | 0.0059882 | 19.84 | 4.7351 | 0.3561 | 4.4894
153_B | Mali Yellow | 186.0716 | 0.019832 | 0.0019226 | 26.41 | 5.5554 | 0.1784 | 11.5639
154_B | Mali Yellow | 1732.1076 | 0.019994 | 0.0062823 | 9.884 | 3.9074 | 0.6066 | 2.8253
203_B | Mali Yellow | 175.498 | 0.024506 | 0.0023081 | 26.51 | 4.4221 | 0.1369 | 7.8724
204_B | Mali Yellow | 111972.6046 | 0.044527 | 0.23109 | 1.135 | 20.1954 | 0.8396 | 0.56672
253_B | Mali Yellow | 172.8219 | 0.02144 | 0.0020472 | 26.97 | 4.8646 | 0.1574 | 11.1276
254_B | Mali Yellow | 667.7279 | 0.019712 | 0.0033431 | 17.16 | 4.5071 | 0.4081 | 3.6121
303_B | Mali Yellow | 239.4951 | 0.020595 | 0.0021991 | 25.49 | 4.6009 | 0.2076 | 8.14
304_B | Mali Yellow | 412.7863 | 0.018759 | 0.002567 | 20.5 | 4.9133 | 0.3273 | 5.2871
353_B | Mali Yellow | 261.9976 | 0.031391 | 0.0030682 | 27.1 | 4.3839 | 0.1622 | 7.7323
354_B | Mali Yellow | 6819.8125 | 0.021681 | 0.020271 | 3.739 | 7.3381 | 0.7726 | 1.5199
403_B | Mali Yellow | 344.5431 | 0.018478 | 0.0023952 | 21.7 | 4.8698 | 0.2833 | 6.6788
404_B | Mali Yellow | 1340.1928 | 0.017649 | 0.005256 | 10.41 | 4.5147 | 0.5765 | 2.8848
453_B | Mali Yellow | 1064.6672 | 0.017939 | 0.0044603 | 12.04 | 4.1733 | 0.5335 | 3.3776
454_B | Mali Yellow | 282.164 | 0.01649 | 0.0020364 | 22.8 | 5.3561 | 0.2681 | 10.1014
495_B | Mali Yellow | 147.815 | 0.016977 | 0.0018073 | 27.65 | 6.1747 | 0.1805 | 14.6965
496_B | Mali Yellow | 684.4352 | 0.019034 | 0.0034428 | 17.42 | 6.702 | 0.4156 | 6.3582
|  | 6696.7703 | 0.022387 | 0.016135 | 17.3305 | 98.4513 | 0.41043 | 108.0677
RM2
005_C | Jaco Lake | 15519.7382 | 0.71281 | 0.046978 | 42.37 | 6.4855 | 0.6665 | 0.9901
006_C | Jaco Lake | 6070.5828 | 0.38984 | 0.019648 | 55.38 | 3.6608 | 0.6072 | 1.4521
055_C | Jaco Lake | 7418.0104 | 0.595 | 0.024485 | 60.69 | 3.6894 | 0.5711 | 1.2496
056_C | Jaco Lake | 984.1389 | 0.41354 | 0.0063556 | 140.1 | 3.9037 | 0.2416 | 3.4019
105_C | Jaco Lake | 27947.4335 | 0.43551 | 0.084104 | 16.85 | 4.3984 | 0.7602 | 0.71123
106_C | Jaco Lake | 13327.0485 | 0.39012 | 0.039204 | 33.35 | 9.0687 | 0.6917 | 1.8629
155_C | Jaco Lake | 6419.6632 | 0.23024 | 0.020519 | 35.34 | 4.7707 | 0.6825 | 1.5329
156_C | Jaco Lake | 7099.774 | 0.32395 | 0.024338 | 42.13 | 4.1015 | 0.6578 | 1.2784
205_C | Jaco Lake | 39812.6586 | 0.26818 | 0.085401 | 16.47 | 15.0553 | 0.7746 | 1.2842
206_C | Jaco Lake | 43217.6847 | 0.34927 | 0.10863 | 12.81 | 11.8246 | 0.7901 | 0.91235
255_C | Jaco Lake | 19139.0806 | 0.42319 | 0.057975 | 23.4 | 4.6679 | 0.7409 | 0.89558
256_C | Jaco Lake | 2134.543 | 0.40928 | 0.0096422 | 103.8 | 3.8617 | 0.3871 | 2.7144
305_C | Jaco Lake | 155865.1606 | 0.3538 | 0.40176 | 3.349 | 11.424 | 0.8243 | 0.44608
306_C | Jaco Lake | 8643.5652 | 0.39197 | 0.027808 | 42.2 | 4.0656 | 0.6525 | 1.2199
355_C | Jaco Lake | 31535.3247 | 0.3822 | 0.093668 | 13.42 | 5.6559 | 0.7843 | 0.72876
356_C | Jaco Lake | 571.3828 | 0.32133 | 0.005215 | 149.3 | 4.1483 | 0.1894 | 7.5214
405_C | Jaco Lake | 7733.9874 | 0.33671 | 0.02608 | 41.15 | 4.4282 | 0.6662 | 1.3614
406_C | Jaco Lake | 477.5657 | 0.31305 | 0.0047231 | 155.3 | 4.0135 | 0.1707 | 6.8101
455_C | Jaco Lake | 30005.0233 | 0.30358 | 0.091125 | 10.84 | 4.045 | 0.7914 | 0.73331
456_C | Jaco Lake | 627.0344 | 0.35056 | 0.0052271 | 149.3 | 3.9038 | 0.1961 | 4.1022
497_C | Jaco Lake | 28010.9455 | 0.36706 | 0.068547 | 23.41 | 13.8375 | 0.7318 | 1.9979
498_C | Jaco Lake | 6297.7122 | 0.4525 | 0.023459 | 56.85 | 4.2887 | 0.5916 | 1.5507
|  | 20857.1845 | 0.38698 | 0.057949 | 55.8095 | 178.4789 | 0.59862 | 71.8518
RM3
007_D | In-house RM | 26113.5298 | 0.11381 | 0.074411 | 5.051 | 3.7022 | 0.7997 | 0.72648
008_D | In-house RM | 2512.5406 | 0.18101 | 0.0081357 | 53.9 | 4.9825 | 0.5343 | 2.4147
057_D | In-house RM | 3142.3105 | 0.39665 | 0.01099 | 74.34 | 3.9168 | 0.4228 | 2.5963
058_D | In-house RM | 6235.9396 | 0.4535 | 0.020321 | 53.76 | 4.0683 | 0.5348 | 1.8243
107_D | In-house RM | 38931.2871 | 0.083377 | 0.1136 | 2.408 | 3.7134 | 0.8128 | 0.59891
108_D | In-house RM | 49602.3403 | 0.11576 | 0.12935 | 3.372 | 10.1791 | 0.8102 | 0.59616
157_D | In-house RM | 38315.4989 | 0.05415 | 0.11041 | 1.621 | 3.6629 | 0.8188 | 0.63783
158_D | In-house RM | 40090.4743 | 0.053578 | 0.11551 | 1.54 | 4.0361 | 0.8185 | 0.61054
207_D | In-house RM | 80585.4647 | 0.09053 | 0.22743 | 1.356 | 4.4095 | 0.8186 | 0.49212
208_D | In-house RM | 36063.1391 | 0.052274 | 0.10283 | 1.702 | 3.9363 | 0.8165 | 0.65835
257_D | In-house RM | 32491.3758 | 0.11763 | 0.094557 | 4.059 | 3.9035 | 0.8012 | 0.62057
258_D | In-house RM | 24617.6977 | 0.14892 | 0.071354 | 6.766 | 3.9877 | 0.7921 | 0.74977
307_D | In-house RM | 50809.2605 | 0.065845 | 0.14468 | 1.543 | 6.0303 | 0.8182 | 0.54184
308_D | In-house RM | 14188.9139 | 0.14077 | 0.041839 | 10.63 | 3.6566 | 0.7716 | 0.97503
357_D | In-house RM | 77288.2946 | 0.05572 | 0.22424 | 0.834 | 4.6246 | 0.8214 | 0.5405
358_D | In-house RM | 10739.4721 | 0.072226 | 0.031746 | 7.322 | 3.6629 | 0.7881 | 1.1349
407_D | In-house RM | 7232.1422 | 0.06117 | 0.021282 | 9.197 | 3.8475 | 0.7827 | 1.215
408_D | In-house RM | 14260.6039 | 0.094489 | 0.042507 | 7.098 | 3.6169 | 0.7887 | 0.90812
457_D | In-house RM | 13778.9294 | 0.090146 | 0.041297 | 6.996 | 3.7255 | 0.7928 | 1.0364
458_D | In-house RM | 15731.3454 | 0.10257 | 0.046839 | 7.051 | 3.6099 | 0.7897 | 0.90007
499_D | In-house RM | 13394.8573 | 0.090888 | 0.041002 | 7.078 | 3.6916 | 0.7842 | 0.89224
500_D | In-house RM | 12933.6934 | 0.09704 | 0.03955 | 7.798 | 3.7119 | 0.7822 | 1.0103
|  | 27684.5051 | 0.12418 | 0.079722 | 12.5192 | 321.4553 | 0.75909 | 28.8